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We welcome correspondence and calls in Welsh and English - we will respond equally to both and will reply in your language of choice without delay.
Gwynedd and Anglesey Area Office
North Wales Fire and Rescue Service
Llanberis Road, Caernarfon
Gwynedd LL55 2DF
Tel: 01286 662999
www.northwalesfire.gov.wales
Swyddfa Ardal Gwynedd a Môn
Gwasanaeth Tân ac Achub Gogledd Cymru
Ffordd Llanberis, Caernarfon
Gwynedd  LL55 2DF
Ffôn: 01286 662999   www.tangogleddcymru.llyw.cymru




	
Swyddog Cynllunio,
Gwasnaethau Cynllunio,
Cyngor Bwrdeisdref Sirol Wrecsam,
Neuadd y Dref,
Wrecsam,
LL11 1AY 

	
	

	
	Eich Cyf/Your Ref:

Ein Cyf/Our Ref:

Dyddiad/Date:

Gofynner am/Ask for:

Rhif Union/Direct Dial:
	P/2023/0186
HLJ/80-000848-SLGEN8A
25/09/2023
Heather Jones
01286 662999



	Annwyl 1Syr,

DEDDF CYNLLUNIO GWLAD A THREF 1990 - YMGYNGHORIAD

	EIDDO 
	
TIR GER ST MARYS AVENUE OVERTON, WRECSAM




Mewn cysylltiad â’ch ymgynghoriad dyddiedig 21ain medi 2023, mae adroddiad ein harchwiliad wedi ei atodi  ynglŷn â’r cais PR/2023/0186.

Mae’r adroddiad ynglŷn â mynediad i gerbydau a cyflenwad dwr.

Os ydych angen gwybodaeth bellach, cysylltwch â’r Swyddog Cydymffurfiaeth.


Yn gywir

	Dear  Sir,

THE TOWN AND COUNTRY PLANNING ACT 1990 – CONSULTATION

	PREMISES:
	
 LAND OFF ST MARYS
 AVENUE, OVERTON
 WREXHAM



With reference to your consultation dated 21st September 2023,  attached is our inspection report in respect of application PR/2023/0186

The report refers to access for fire appliances and water supplies.

If you should require any further information, please do not hesitate to contact the Compliance Officer.

Yours faithfully
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Ar  ran Awdurdod Gwasanaeth Tân ac Achub Gogledd Cymru
On behalf of North Wales Fire and Rescue Authority



	Cyfeirnod y Cais: PR/2023/0186
	Application reference: PR/2023/0186.

	Cyfeiriad: TIR GER ST MARYS AVENUE OVERTON, WRECSAM

	Address: LAND OFF ST MARYS
 AVENUE, OVERTON
 WREXHAM

	

MYNEDFA AR GYFER CERBYDAU TÂN

Mae’n ofynnol bod gan y Gwasanaeth Tân fynediad priodol ar gyfer unrhyw ddigwyddiad tân.  Dylai unrhyw fynedfa fod yn unol a chyfarwyddiadau sydd o fewn y ddogfen Canllawiau ar reoliadau adeiladau:rhan B (diogelwch tân)  Adran 17.


CYFLENWAD DŴR

Dylai cyflenwad dŵr ar gyfer y datblygiad fod yn unol a’r cyfarwyddiadau sydd o fewn y ddogfen Canllawiau ar reoliadau adeiladau:rhan B (diogelwch tân)  Adran 16.

	

ACCESS FOR FIRE APPLIANCE

It is necessary to provide the Fire Service with appropriate access for any fire incident. Access should be in accordance with the directions within the Building Regulations Approved Document B (fire safety) Section 17.



WATER SUPPLIES

Water supplies for the development should be in accordance with accordance with the directions within the Building Regulations Approved Document B (fire safety) Section 16.
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