Ellie Jones
	From:
	North Planning <NorthPlanning@cyfoethnaturiolcymru.gov.uk>

	Sent:
	26 February 2024 10:57

	To:
	planning_admin

	Subject:
	P/2023/0255 - Penley Mill, Lions Lane, Penley, Wrexham, LL13 0LY (Minor) v3 - NRW 
Response NRW:00948778

	Follow Up Flag:
	Follow up

	Flag Status:
	Completed


Hello Simon, 
  
[bookmark: _GoBack]Thank you for this additional information. We note that the additional information shows that the applicant has been granted an exemption for a discharge to ground for less than 2 cubic meters of foul effluent a day. Therefore, if they present a plan in line with this exemption (with the discharge to ground in the location registered with the exemption), we would not object to the application. Currently, a cesspool is proposed, and previous to that a discharge to the watercourse was proposed (which would not be in line with the exemption they have now obtained). 
  
Kind Regards 
Ruth Prichard  
Tîm Cynllunio Datblygu / Development Planning Team 
Cyfoeth Naturiol Cymru / Natural Resources Wales 
Ffôn / Tel: 03000 653787  www.cyfoethnaturiolcymru.gov.uk / www.naturalresourceswales.gov.uk  
Yn falch o arwain y ffordd at ddyfodol gwell i Gymru trwy reoli’r amgylchedd ac adnoddau naturiol yn gynaliadwy / Proud to be leading the way to a better future for Wales by managing the environment and natural resources sustainably.  
Croesewir gohebiaeth yn Gymraeg a byddwn yn ymateb yn Gymraeg, heb i hynny arwain at oedi / Correspondence in Welsh is welcomed, and we will respond in Welsh without it leading to a delay. 
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