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	Developer Services

PO Box 3146

Cardiff

CF30 0EH
Tel:   +44 (0)800 917 2652
Fax:   +44 (0)2920 740472

E.mail: developer.services@dwrcymru.com
	Gwasanaethau Datblygu

Blwch Post 3146

Caerdydd

CF30 0EH

Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com



Wrexham County Council
16 Lord Street 

Wrexham
LL11 1LG

	
	Date: 16/01/2024

	
	Our Ref: PLA0077564

	
	Your Ref: P/2023/0876


Dear Sir/Madam
Grid Ref: SJ354421 335456 342166

Site: Erbistock Weir, Erbistock, Wrexham
Development: Partial removal of Weir and associated works.
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 

This planning application falls within a Drinking Water Protected Area under article 7 of the Water Framework Directive. This article requires the UK to take action to protect drinking water sources. Section 7.3 states that the aim is ‘to avoid deterioration in water quality where this may lead to additional purification treatment being required’. The proposed development falls within the DCWW Drinking Water Catchment known as River Dee. The site is approximately 28km from the River Dee at Poulton Chester abstraction point. 
DCWW would like to request further information from the applicant to assess the impact of the proposed development on drinking water quality:
We request a copy of the full Environmental Impact Assessment and Pollution Mitigation plans to review as part as a DCWW response. These will include:
• Guidance on any potential downstream siltation mitigation - Pollution and silt booms downstream of the works
• Procedures for monitoring and inspection of mitigation works - Inspect sediment and pollution control measures at the start of each day and remove and replace as required.
• Information on weather condition monitoring to reduce the risk of pollution, in a flood event  
• Refuelling next to the watercourse - All refuelling will take place at least 20m away from the watercourse and fuel bowsers must be bunded. 
• All incidents relating to pollution of any kind are to be reported to DCWW Smarthub as soon as it is safe to do so on 0303 313 0103.

We request that the above information is taken into account, and that we are reconsulted on receipt of the Environmental Impact Assessment.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
Jake MacMillan

Development Planning Officer 
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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