G. GIBSON Electrical Ltd

4, Cartmel Close
WREXHAM
LL13 0LA

SOUTHSEA - Intended Lighting Proposal for Staff Car Parking at Pat’s Coaches.

-	Each Bay will have an individual low-level down-light, lighting the way from the Entrance Cabin to each parked vehicle.  These will be situated at the rear of each designated bay and securely fastened to the bay divider frame.

-	Lighting will be controlled by dusk to dawn sensor, only allowing operation at night.  A manual override maintenance switch will be installed.

-	Lighting will be installed so that it minimises glare to persons walking towards the bays and this can easily be achieved by pointing the direction of the lights towards the ground, therefore providing lighting to pedestrians.

-	Each light will be installed approximately 1500mm from the ground level for easy future maintenance - and to prevent glare to neighbouring property.

-	All fittings to be low wattage LED to ensure low operating costs and energy usage.

-	No hoods will be required on the light fittings.

-	Full lighting details and diagrams attached.



