For the Attention of: Mr S. Greenland – Case Officer

Wrexham County Borough Council

[By Email: planning@wrexham.gov.uk]

26 October 2023

Dear Mr Greenland

PLANNING APPLICATION: P/2022/0306

Erection of 6 no. Industrial units (Class B2) at Site of Wynnstay Technology Park, Llangollen Road, Ruabon, Wrexham - RECONSULTATION

Thank you for your consultation email of 18 October 2023 seeking the further views of the Coal Authority on the above planning application.

The Coal Authority Response: Substantive Concern

The application site falls partly within the defined Development High Risk Area. The Coal Authority’s information indicates that treated recorded off-site mine shaft 329343-194 is located close to the northern site boundary. Despite having been treated, due to the depth of superficial deposits / depth to rock head, the potential zone of influence of the shaft extends into the site.

We last commented on this application in a letter to the LPA dated 25 April 2022, in which we objected to the proposal. We noted the submission of an unattributed Preliminary Risk Assessment report (25 July 2019) but highlighted that this had been produced to inform a proposed residential development to the north of the current application site. We went on to comment:

In light of the above, and on the basis that the proposed development would be sited close to the northern site boundary, the applicant should be requested to provide a site and development specific Coal Mining Risk Assessment or alternatively an addendum to the existing report to demonstrate that the current application site is, or can be made, safe and stable for the proposed development. The additional information should address the following points:

- Provide clarification as to the report author and confirmation that they are suitably qualified to offer an opinion on coal mining related safety and stability matters;

- Provide clarification regarding annotations shown on the Proposed Block Plan (Drawing No. 21/2210/03). We note that the proposed layout of development would be located clear of the two concentric circles shown on this drawing. We assume that these are centred on the recorded position of the recorded mine shaft, but are unclear what they actually denote (the inner circle would be c.8m in diameter which is likely to be far larger than the shaft diameter); and

- The Proposed Block Plan should be revised, as necessary, to clearly show the shaft position, the extent of its cap and its associated zone of influence. This should demonstrate that the layout of the industrial development currently under consideration by the LPA will be located clear of the zone of influence of the shaft.

We note that the planning agent, Sean Caddick, has now responded to our objection. Mr Caddick has not provided a revised report but has indicated that he considers the previously submitted report to cover the whole of the application site. He indicates that the location plan on Page 9 of the report clearly extends to the edge of the road incorporating the current application site.

In response, we wish to comment that the Site Location Plan and Proposed Block Plan included in the version of the Preliminary Risk Assessment report published on the LPA website clearly shows a red line boundary which excludes the current application site. This document refers to a residential end use of the study site.

We note that Mr Caddick has also submitted an updated the Proposed Block Plan in an attempt to make the detail of the capped shaft easier to understand. This shows a circular reinforced cap to the shaft and defines a shaft zone of influence. The proposed built development is shown extending up to the edge of the defined zone.

Notwithstanding the apparent capping of the shaft with a 9.6m x 9.6m square cap rather than a circular cap, we with wish to comment that following a further review of our records, it appears that the plotted position of the centre point of the shaft (329223E, 343527N) lies further south than that shown on the latest Proposed Block Plan.

Whilst it is unlikely that the shaft will be within the application site, it would result in its potential zone of influence extending further into the application site, potentially beneath built development currently proposed. This would conflict with our adopted policy on mine shafts and new development.

In light of the above, the Coal Authority’s Planning & Development Team remains concerned that the submitted information does not clearly demonstrate that the risks posed by the recorded mine shaft have been fully assessed and addressed in the context of the proposed development. We therefore maintain our objection to the application.

The applicant should again be requested to provide a development specific Coal Mining Risk Assessment or an addendum to the report already submitted to confirm that the current application site is, or can be made, safe and stable for the development proposed. A Proposed Block Plan, taking into account the plotted position of the shaft and revised as necessary, should also be submitted to demonstrate that the layout of development will be located clear of the zone of influence of the shaft.

We would be pleased to receive for further consultation and comment any additional information submitted by the applicant.

Please do not hesitate to contact me if you would like to discuss this matter further.

Yours sincerely

James Smith

James Smith BSc. (Hons), Dip.URP, MRTPI

Planning and Development Manager

Disclaimer

The above consultation response is provided by The Coal Authority as a Statutory Consultee and is based upon the latest available data on the date of the response, and electronic consultation records held by The Coal Authority since 1 April 2013.  The comments made are also based upon only the information provided to The Coal Authority by the Local Planning Authority and/or has been published on the Council's website for consultation purposes in relation to this specific planning application.  The views and conclusions contained in this response may be subject to review and amendment by The Coal Authority if additional or new data/information (such as a revised Coal Mining Risk Assessment) is provided by the Local Planning Authority or the Applicant for consultation purposes.

In formulating this response The Coal Authority has taken full account of the professional conclusions reached by the competent person who has prepared the Coal Mining Risk Assessment or other similar report.  In the event that any future claim for liability arises in relation to this development The Coal Authority will take full account of the views, conclusions and mitigation previously expressed by the professional advisers for this development in relation to ground conditions and the acceptability of development.