	  [image: image2.png]



	Developer Services

PO Box 3146

Cardiff

CF30 0EH
Tel:   +44 (0)800 917 2652
Fax:   +44 (0)2920 740472

E.mail: developer.services@dwrcymru.com
	Gwasanaethau Datblygu

Blwch Post 3146

Caerdydd

CF30 0EH

Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com



Wrexham County Borough Council 
16, Lord Street

Wrexham
LL11 1LG

	
	Date: 15/08/2023

	
	Our Ref: PLA0074620

	
	Your Ref: P/2023/0469


Dear Sir/Madam,
Grid Ref: SJ386497 338687 349732

Site: Storage Land at Unit 108 Abbey Road South, Wrexham.
Development: P/2020/0099/ischarge of condition (8) drainage of planning permision p/2020/0099
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.
SEWERAGE

We note that this application proposes to discharge condition 8 of planning permission P/2020/0099, which states that: No part of the development shall commence until a scheme for the comprehensive and integrated drainage of the site indicating how foul water, surface water and land drainage will be dealt with has been submitted to and approved in writing by the Local Planning Authority. The scheme as approved shall be implemented in accordance with a timescale to be agreed as part of the submitted details and maintained thereafter.
We acknowledge receipt of a ‘Drainage Strategy’ (95011-RP-D-0001 Rev: P01) which indicates proposals to discharge surface water flows to the combined sewer at an attenuated rate. Having reviewed the strategy, it appears that an existing surface water connection to the combined sewer has been assumed, we firstly advised that an existing connection must be accurately determined by way of surveying, and an estimate of the historic discharge rate to the combined sewer calculated. We would recommend that soakaway testing is completed in various locations around the site. 
We advise that further investigation into surface water bodies is required, it appears that there is a surface water body to the east of the development. We also request that discussions with the highways drainage department is provided, as there appears to be a highways drainage network in the vicinity of the site.
We confirm that at this stage the submitted scheme is unacceptable as there is no agreement to communicate surface water flows to the public sewerage system and the scheme fails to demonstrate that all alternative surface water drainage options have been explored and exhausted in accordance with the hierarchy set out in ‘Statutory standards for Sustainable Drainage Systems (SuDS) in Wales’. 

Therefore, we offer a holding objection until such time as the required information is provided, and request we are re-consulted on receipt of this information.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully,
Jake MacMillan
Development Planning Officer

Developer Services
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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