Design and access statement

Site Address:

Land behind Elegant Driveways, Miner’s Park Ind Et, Llay, Wrexham, LL12 OPJ Map Ref;- 53.099471, -3.016297

Applicants Details

Mr Jason Wilson,  1 Greenacres, Pentre Fron Road, Coedpoeth, Wrexham, LL11 3BU

The proposed building is a development of 3 storage/starter units with Class E consent within 1 rectangular building on an existing Industrial estate with similar buildings already is use.

Scale

The building measure 25m long, 10m wide and 5m to eaves height. The maximum height at the top of the pitch is 5.875m. The building is to be used for 3 x small general industrial/storage units. The building has been designed to be similar to surrounding buildings, is much lower in height than the surrounding buildings so will not stand out or look out of place.

Landscaping

The proposed building will be clad with Plastisol coated box profile sheeting in black and blue. The building is on its own site and will be surrounded by fencing and gated.

Access

The access will be off the existing Miners Road on an area of the road owned and controlled by the applicant, there are no restrictions and ample space in this area. There will be ample space on site for parking and turning vehicles. The building will be built on level ground  giving good pedestrian access, the building will be built with access suitable to all, with entrances and exits wide enough to allow quick escape should the need arise. There are wide pathways for pedestrians to access the site.

Environmental sustainability

The proposed building will have a box profile roof with roof lights which will give light inside the building during daylight hours, saving on energy. The cladding is made from box profile sheeting. There will be a requirement for extra draining on the site, connecting to existing drainage, but this poses no major impact to the environment as the occupiers of the units would be expected to be travelling from the local area due to the size of the units.

Appearance /Character

The building has been designed to match similar units on the miner’s park estate, it has been designed to be manufactured from plastisol coated box profile in a neutral colour. The building will blend in with existing buildings around the site.

Community Safety

The proposed development/building does not raise any issues regarding community safety, to all sides of the site there will be fences in place, on two sides of the site, there are already industrial areas with existing buildings. To the front there is currently a fence and entrance gates. The site will be completely fenced to ensure security and there is no right of way that will not be connected to the occupier’s business.

Site Layout

The building is positioned at the rear of an existing industrial estate, there is no public access past the site. The proposed building will improve the current appearance of this area as it is currently waste ground/hard standing. There is no vegetation on the site as a habitat to newts known to be in existence in other areas of the industrial estate.

Summary

The proposed building will have no impact on wildlife in the area

The proposed building would create a small number of jobs

The buildings are designed to blend in with existing buildings.