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	Developer Services

PO Box 3146

Cardiff

CF30 0EH
Tel:   +44 (0)800 917 2652
Fax:   +44 (0)2920 740472

E.mail: developer.services@dwrcymru.com
	Gwasanaethau Datblygu

Blwch Post 3146

Caerdydd

CF30 0EH

Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com



Wrexham CountyBorough Council 
16, Lord Street 

Wrexham
LL11 1LG

	
	Date: 07/07/2022

	
	Our Ref: PLA0066722

	
	Your Ref: P/2022/0608


Dear Sir/Madam,
Site: Land south if Pinecraft At Afonitha Road, Wrexham.
Development: Reserved Matters pursuant to outline planning permission p/2018/0139 (appearance, landscaping, layout and scale) - 5 dwellings.
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 

We would request that if you are minded to grant Planning Consent for the above development that the    Conditions and Advisory Notes provided below are included within the consent to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets.

We can advise that Five Fords WwTW has a phosphate permit. This matter will need to be considered further by the local planning authority.

ASSET PROTECTION

The proposed development site is crossed by a 225mm combined sewer, with their approximate position being marked on the attached Statutory Public Sewer Record.  We note that site plan marks the location of this sewer and the no buildings are proposed within it's easement. 

We acknowledge this application is for the approval of reserved matters of the original planning consent (ref: P/2018/0139) that established the principle of the development. We have no objection to the application for approval of the reserved matters subject to compliance with the requirements of the drainage conditions imposed on the outline planning permission, and the subsequent applications to vary the conditions thereon.

Notwithstanding this, in relation to foul water flows, please note the applicant has not obtained/concluded approval under Section 104 of the Water Industry Act 1991 and therefore amendments may be required through this process. The applicant will be responsible for notifying the Local Planning Authority of any amendments made through this process.

We note condition 10 of the outline permission requires the submission of a comprehensive drainage scheme, we note a comprehensive drainage scheme showing how foul, surface water & highway drainage is to be disposed of has not been submitted with this application. Therefore we kindly request to be consulted on any subsequent future planning application submitted to discharge this condition.

Advisory Notes
The applicant is advised that some public sewers and lateral drains may not be recorded on our maps; some sewers were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011. The presence of such assets may affect the proposal.  In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

The applicant may also need to apply to Dwr Cymru / Welsh Water for any connection to the public sewer under S106 of the Water industry Act 1991. If the connection to the public sewer network is either via a lateral drain (i.e. a drain which extends beyond the connecting property boundary) or via a new sewer (i.e. serves more than one property), it is now a mandatory requirement to first enter into a Section 104 Adoption Agreement (Water Industry Act 1991). The design of the sewers and lateral drains must also conform to the Welsh Ministers Standards for Gravity Foul Sewers and Lateral Drains, and conform with the publication "Sewers for Adoption"- 7th Edition. Further information can be obtained via the Developer Services pages of www.dwrcymru.com

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
Jake MacMillan 

Development Planning Officer

Developer Services
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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