Site Services Review – Annual SUD’s Maintenance Plan Woodlands
Date: 20/01/2022
All maintenance will be carried out in line with the RSL’s asset management annual maintenance plan and will be reviewed annually.
The soakaways are located within individual residents gardens and they will maintain responsibility of regular/routine maintenance of the garden as shown in the below maintenance plan. However, property conditions are inspected throughout the year, to allow the association to ensure maintenance and upkeep of properties.
[bookmark: _GoBack]The management plan will commence 12 months post completion, where the RSL takes full ownership of maintenance and management of the scheme. 
	Maintenance Type
	Frequency
	Task
	Responsible Persons

	General Maintenance
	Weekly/ Monthly basis dependant on season
	1. Grass cutting and general garden maintenance
1. Checking of any outlets and reporting any issues to WWHA 
	Resident

	Occasional 
	6-12 months
	1. Inspection of soakaway
1. Weather monitoring after inspection after heavy rain
1. Inspection for Tree roots
1. Inspection of surface settlement
1. Inspection of inlets and outlets and pipework
1. Cleaning of roof gutters
1. Sediment Removal
	WWHA

	Remedial Maintenance
	When Required
	1. Any repairs to structure and surface reconditioning
	WWHA




