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Rhodri Perry <Rhodri Perry@dwrcymru.com>
To Dafydd Edwards Wed 15/09/2021 1514

Hi Dafydd,
The sewer catchment in this area is treated at Froncysylite waste water treatment works, this works does not have a phosphate consent. We would advise that you discuss this further with NRW and the Local Planning Authority.
We can accept foul flows from proposed development into sewer and treatment works.

Should you need anything further please let me know

Thank you,

Rhodri

Rhodri Perry
Development Control Officer | Developer Services
Dir Cymru Welsh Water
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If we've gone the extra mile to provide you with excellent service, let us know. You can nominate an individual or team for a Dioich
‘award through our website

From: Dafydd Edwards <dafydd@blueprintarchitectural.com>
Sent: 13 September 2021 15:54

To: Rhodri Perry <Rhodri.Perry@dwreymru.com>

‘Subject: FW: Land @ Liwybr Y Garth, Froncysylite, Wrexham

sxssnres External Mail 5355+
Hi Rhodri,

I don't appear to have received a response to my request below, | have had some issues with my emails recently.
Kind regards

Dafydd Edwards ACIOB

Senior Architectural Technician

for Blueprint Architectural Services

Tel: 01978 356500
Email: Dafydd@blueprintarchitectural.com

From: Dafydd Edwards <dafydd@blueprintarchitectural.com>
Sent: 23 August 2021 09:21

To: "Rhodri Perry’ <Rhodri.Perry@dwrcymru.com>

Subject: Land @ Liwybr Y Garth, Froncysylite, Wrexham

Good Morning Rhodri,

We are aiming to construct a dwelling in Froncysylite, Site plan attached for you reference.

Are you able to confirm connection to mains drains is possible, with adequate capacity to the foul drainage system with licences in place for Phosphate to satisfy NRW comments.

Hook forward to hearing from you.
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