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Dear Shiela,
 
Thank you for your email dated 13th October 2021 regarding the above site.
 
With regard to what information is required for the local planning authority to assess the suitability of your proposals, the following bullet point list is what we advise the local planning authority to seek from applicants in support of such planning applications:
 
· confirmation of how foul wastewater will be managed;
· clear scale plans showing the location of the proposed private sewage treatment system and discharge location;
· where a private sewage treatment system is proposed within a sewered area, evidence to justify why a connection to mains sewer is not feasible in line with Circular 008/2018 and Planning Policy Wales
· For all other private sewage treatment systems, evidence that Circular 008/2018 has been followed
· Where discharges to ground are proposed, developers should provide the results of infiltration testing with calculations to demonstrate that the drainage field size and design is appropriate for the volume of discharge proposed and follows the relevant British Standard.
 
Please note that NRW are not able to advise you on whether the information provided in your email below is sufficient in detail for the local planning authority to assess or indeed whether the proposals themselves are satisfactory – this is for the local planning authority to determine.
 
With regard to the DataMapWales information, the application site address is shown within the wider Phosphate Sensitive Special Area of Conservation Catchment for the River Dee and Bala Lake Special Area of Conservation (SAC). Every development should be considered on a case by case basis. Developments should first be screened to determine whether they are likely to have a significant effect. The screening process should apply to developments within river SAC water body catchments and non-SAC tributaries flowing into them. Catchment boundaries can be found on DataMapWales.
 
The following map shows your site address (blue marker balloon) within the black edged Phosphate Sensitive Special Area of Conservation Catchment for the River Dee and Bala Lake Special Area of Conservation:
 
(Map was shown here but cannot be reproduced)
 
I trust that the above provides you with clarification on the further information required in relation to foul drainage for your planning application.  However, if you have any further queries please do not hesitate to contact me.
 
Kind regards,
Rachael Burke
 
Tîm Cynllunio Datblygu / Development Planning Team
Cyfoeth Naturiol Cymru / Natural Resources Wales
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