	  [image: image3.png]



	Developer Services

PO Box 3146

Cardiff

CF30 0EH
Tel:   +44 (0)800 917 2652
Fax:   +44 (0)2920 740472

E.mail: developer.services@dwrcymru.com
	Gwasanaethau Datblygu

Blwch Post 3146

Caerdydd

CF30 0EH

Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com
	



Mr Andrew Russell
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Well House Barns  

Bretton

Chester

CH4 0DH

Date: 10/09/2018

Our Ref: PPA0003376

Dear Mr Russell

Grid Ref: 332306 353231

Site Address: Woodlands Farm, North of Dodds Lane, Gwersyllt, Wrexham

Development: Schedule 1C Article 2D Construct 23 affordable residential units with associated parking, landscaping and ancillary works

I refer to the Schedule 1C - Article 2D notice received and your formal request for a pre-application consultation response before applying for planning permission from Dwr Cymru Welsh Water as a ‘Specialist Consultee’ as defined by Paragraph (y) of Schedule 4 of the Town & Country Planning (Development Management Procedure) (Wales) (Amendment) Order 2016. It is acknowledged that the consultation request relates to a major development site and thus seeks a substantive response within 28 days from the date of the notice, 3rd September 2018, as per the requirements of Article 2E. This request includes our views on the capacity of our network of assets and infrastructure to accommodate your proposed development.          

Having reviewed the details submitted I would offer the following advice which should be taken into account within any future planning application for the development:   

ASSET PROTECTION 

The proposed development site is crossed by a 225mm diameter public foul gravity sewer and 225mm and 318mm diameter public combined gravity sewers with their approximate position being marked on the attached Statutory Public Sewer Record. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times. No part of any building will be permitted within 3 metres either side of the centreline of the public sewers.   Our strong recommendation is that your site layout takes into account the location of the assets crossing the site and should be referred to in any master-planning exercises or site layout plans submitted as part of any subsequent planning application. 

Should the proposed development be located within the protection zones of the sewers crossings, there would be a requirement to divert the public sewers, which can be applied for under Section 185 of the Water Industry Act 1991.   

SEWERAGE  

Foul flows only from the proposed development can be accommodated within the public sewerage system.        

SURFACE WATER      

We note it is proposed to discharge surface water run-off into a soakaway. 

Please note that no surface water, highway or land drainage run-off will be permitted to discharge directly or indirectly into the public sewerage system.
SEWAGE TREATMENT

No problems are envisaged with the Waste Water Treatment Works for the treatment of domestic discharges from this site.
I trust the above information is helpful and will assist you in forming water and drainage strategies that should accompany any future planning application. 

Please note that our response is based on the information provided in your enquiry and should the information change we reserve the right to make a new representation. Should you have any queries or wish to discuss any aspect of our response please do not hesitate to contact our dedicated team of planning officers, either on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.

Yours faithfully, 
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Owain George

Planning Liaison Manager
Developer Services
Encs.

Sewer plan
Please Note that demands upon the water and sewerage systems change continually; consequently the information given above should be regarded as reliable for a maximum period of 12 months from the date of this letter. 
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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