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Lighting Specification: Proposed

CO OP Petrol Station, Coedpoeth, High Street, Coedpoeth, Wrexham.LL11 3UF

(Please refer to colour coded illuminance drawing ref: DM66)

Exterior Lighting

The canopy and area floodlighting is fitted with the latest LED (light emitting diode) technology.

The canopy lighting layout is designed using Asymmetric (A1) type BBP400.ECO151-2S/657PAM (4no) and Bisymmetric (A2) type BBP400.ECO151-2S/657PRM (4no) luminaires to provide a high degree of illumination control onto the pump islands and minimise unwanted light outside the canopy area. Floodlight (B) type Clearflood ref: BVP 650 LED ECO 34K (product order code Philips Lighting – 912300023579) (1no) mounted on heavy duty 6m column (Ref. Kingfisher Lighting 8CTH140 Tel. 01623 415942) complete with 1.25m highway bracket extension arm (Ref. STM1125140) – to be operated during tanker delivery only. 

Bulkhead floodlight (C) type Thorn Piazza II ref: 96233235 70W 240V HIT-CE (E27 PR RAL L) (3no) are mounted at maximum 2m height on stub columns. All floodlights are directed to provide minimum levels of light for safety. Control of beam direction (below 70 degrees) on all floodlights is provided by the LED beam control system enabling sharp cut off, avoiding glare, spill-light and night sky pollution. 
Bulkhead type luminaires (D) BCS200.6xLXML/WW.10w.220-240v.IP65 GR (6no) (or similar approved fitted with louvres to remove any upward light component), are wall or fence mounted at maximum 2m height for pedestrian safety. 

All external luminaires are to be fitted with daylight sensors.
Lighting within the shop will be of a low brightness design.

Impact on neighbouring property by the new scheme and compliance

The designed illumination levels under the canopy are shown on the proposed colour coded illuminance drawing (DM66). Existing and proposed boundary treatments to adjacent property and compliant lighting design will provide a high degree of control to restrict any boundary spillage of light and eliminate nuisance to neighbouring residents and wildlife. 
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