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	Developer Services

PO Box 3146

Cardiff
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Tel:   +44 (0)800 917 2652
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	Gwasanaethau Datblygu
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Mr Andrew Russell







axis









Well House Barns  

Bretton

Chester

CH4 0DH

Date: 13/06/2018

Our Ref: PPA0003135

Dear Mr Russell

Grid Ref: 328480 338309

Site Address: Kronospan Ltd, Chirk

Development: 2D Application - Development of an orientated strand board production facility

I refer to the Schedule 1C - Article 2D notice received and your formal request for a pre-application consultation response before applying for planning permission from Dwr Cymru Welsh Water as a ‘Specialist Consultee’ as defined by Paragraph (y) of Schedule 4 of the Town & Country Planning (Development Management Procedure) (Wales) (Amendment) Order 2016. It is acknowledged that the consultation request relates to a major development site and thus seeks a substantive response within 28 days from the date of the notice, 29th May 2018, as per the requirements of Article 2E. This request includes our views on the capacity of our network of assets and infrastructure to accommodate your proposed development.  

Having reviewed the details submitted I would advise there is no objection to the proposed development and offer the following standing advice which should be taken into account within any future planning application for the development: 

SEWERAGE
It would appear from the application form that no foul flows are proposed to be communicated with the public sewerage system.
SURFACE WATER  

With reference to the surface water flows from the proposed development, you are required to fully exhaust all technical options outlined under Sections 3.2 and 3.4 of Part H of the publication 'Building Regulations 2000; Disposal should be made through the hierarchical approach, preferring infiltration and, where infiltration is not possible, disposal to watercourses in liaison with the Land Drainage Authority and/or Natural Resources Wales. Please refer to further detailed advice relating to surface water management included in our attached Advice & Guidance note. 

In addition, please note that no surface water, highway or land drainage run-off will be permitted to discharge directly or indirectly into the public sewerage system.

SEWAGE TREATMENT

No problems are envisaged with the Waste Water Treatment Works for the treatment of domestic discharges from this site. Recommendation is pending a Trade Effluent license review and does not guarantee a positive recommendation on a Trade Effluent application.

I trust the above information is helpful and will assist you in forming water and drainage strategies that should accompany any future planning application. I also attach copies of our water and sewer extract plans for the area, and a copy of our Planning Guidance Note which provides further information on our approach to the planning process, making connections to our systems and ensuring any existing public assets or infrastructure located within new development sites are protected. 

Please note that our response is based on the information provided in your enquiry and should the information change we reserve the right to make a new representation. Should you have any queries or wish to discuss any aspect of our response please do not hesitate to contact our dedicated team of planning officers, either on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.

Yours faithfully, 
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Owain George

Planning Liaison Manager
Developer Services
Please Note that demands upon the water and sewerage systems change continually; consequently the information given above should be regarded as reliable for a maximum period of 12 months from the date of this letter.
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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