For the Attention of: Philip Forster – Case Officer

Wrexham County Borough Council

[By Email: planning@wrexham.gov.uk]

[Copy Email: philip.forster@wrexham.gov.uk]

28 June 2018

Dear Mr Forster

PLANNING APPLICATION: P/2018 /0463

Demolition Of Existing Petrol Filling Station And Adjacent Residential Property And Construction Of A Petrol Filing Station, Convenience Store And Associated Car Parking; Co Operative Group Ltd, High Street, Coedpoeth, Wrexham, LL11 3UF

Thank you for your consultation letter of 08 June 2018 seeking the views of The Coal Authority on the above planning application.

The Coal Authority is a non-departmental public body sponsored by the Department for Business, Energy & Industrial Strategy.  As a statutory consultee, the Coal Authority has a duty to respond to planning applications and development plans in order to protect the public and the environment in mining areas.

The Coal Authority Response: Substantive Concern

I have reviewed the proposals and confirm that the application site falls within the defined Development High Risk Area.

The Coal Authority records indicate that within the application site and surrounding area there are coal mining features and hazards which need to be considered in relation to the determination of this planning application, specifically historic unrecorded underground coal mining likely to have taken place at shallow depth. This has been confirmed by the Coal Mining Report ref: 51001373122001 (dated 24 January 2017) which accompanies this planning application.

Whilst we note that an Environmental Assessment Report, report no. CP17129 CL 001 (dated March 2017) has also been submitted in support of this application, this is predominantly to address contaminants, not ground conditions from coal mining legacy issues.

The Coal Authority therefore objects to this planning application, and we consider that the applicant needs to submit the required Coal Mining Risk Assessment Report, or equivalent, to the LPA.

It is a requirement of Planning Policy Wales, paragraph 13.9 that the applicant demonstrates to the satisfaction of the LPA that the application site is safe, stable and suitable for development. In addition the national validation list in Wales requires planning applications in the defined Development High Risk Area need to be accompanied by a Coal Mining Risk Assessment.

Please do not hesitate to contact me if you would like to discuss this matter further.

Yours sincerely

D Roberts

Deb Roberts M.Sc.

Planning Liaison Officer

General Information for the Applicant

The coal mining information within the Coal Mining Report (such as a Non-Residential Coal Mining Report, an Enviro-All-in-One Report or other factual report) already obtained should be used as the basis for a Coal Mining Risk Assessment Report (CMRA).  The CMRA should assess whether or not past mining activity poses any risk to the development proposal and, if necessary, propose mitigation measures to address any issues of land instability.  This could include further intrusive investigation on site to ensure that the Local Planning Authority has sufficient information to determine the planning application.

The Coal Mining Risk Assessment should be prepared by a “competent body”.  Links to the relevant professional institutions of competent bodies can be found at:

https://www.gov.uk/planning-applications-coal-mining-risk-assessments

Guidance on how to produce a Coal Mining Risk Assessment and a template which the “competent body” can utilise is also contained at:

https://www.gov.uk/planning-applications-coal-mining-risk-assessments

As the coal mining legacy issue that needs further consideration in this particular case is potential historic shallow mining the British Geological Survey (BGS) may prove a useful source of geological and mining information: www.bgs.ac.uk

Under the Coal Industry Act 1994 any intrusive activities, including initial site investigation boreholes, and/or any subsequent treatment of coal mine workings/coal mine entries for ground stability purposes require the prior written permission of the Coal Authority, since such activities can have serious public health and safety implications.  Failure to obtain permission will result in trespass, with the potential for court action.  In the event that you are proposing to undertake such work in the Forest of Dean local authority area our permission may not be required; it is recommended that you check with us prior to commencing any works.  Application forms for Coal Authority permission and further guidance can be obtained from the Coal Authority’s website at:

https://www.gov.uk/get-a-permit-to-deal-with-a-coal-mine-on-your-property

Disclaimer

The above consultation response is provided by the Coal Authority as a Statutory Consultee and is based upon the latest available coal mining data on the date of the response, and electronic consultation records held by the Coal Authority since 1 April 2013.  The comments made are also based upon only the information provided to the Coal Authority by the Local Planning Authority and/or has been published on the Council's website for consultation purposes in relation to this specific planning application.  The views and conclusions contained in this response may be subject to review and amendment by the Coal Authority if additional or new data/information (such as a revised Coal Mining Risk Assessment) is provided by the Local Planning Authority or the applicant for consultation purposes.