For the Attention of: Mr Matthew Phillips – Case Officer

Wrexham County Borough Council

[By Email: planning@wrexham.gov.uk]

02 March 2018

Dear Mr Phillips

PLANNING APPLICATION: P/2017/1056

Outline application for the erection of dwelling (with all detailed matters reserved for further approval); Land Off, Chapel Street, Acrefair, Wrexham, LL14 3TB: Re-consultation

Thank you for your notification of 19 February 2018 seeking the views of The Coal Authority on further information submitted in support of the above planning application.

The Coal Authority Response: Material Consideration

As you are aware, the Coal Authority objected to this planning application in our previous letter to the LPA dated 10 January 2018 as the applicant had failed to provide information to support the application in order to adequately address the impact of coal mining legacy on the proposed development.

We are pleased to note that the applicant has now submitted a Coal Mining Risk Assessment prepared for the proposed development prepared by NKC Geotech Ltd (Ref: 1801, dated 8th February 2018).

The submitted Coal Mining Risk Assessment has been informed by historical, geological and mining information together with previous investigations undertaken by the Report author who confirms that the site has been extensively mined in the past.  Therefore in order to determine the presence / absence of shallow mine workings, recommendations have been made that intrusive site investigations will be required.  The Report author has confirmed that a minimum of four rotary boreholes to a depth of 30m (to determine shallow mining) together with probe drilling (to determine the location of the mine entries) are considered necessary.

It should be noted that the Coal Authority records indicate that the recorded depth of shallow workings for this site are at depths of 41m, with an extraction thickness of 2m.  Therefore the exact number, depth and distribution of the boreholes will need to be in agreement with the Coal Authority’s Licensing and Permitting Department as part of the permit application process as 30m may not be adequate in this particular instance.

Once the exact ground conditions have been established a competent person can confirm and design an appropriate mitigation strategy such as grouting and stabilisation works, specific foundation design and / or gas protection measures, if deemed necessary, to ensure the safety and stability of the proposed development.

In addition, the exact location / condition of the mine entries will need to be established, including the depth to bedrock adjacent to the shafts to be confirmed so that a shaft exclusion zone to building can be determined.  This will enable a mining engineer to design a layout for this site to ensure that adequate separation is provided between the mine entries and the proposed building.  The Coal Authority is of the opinion that building over, or in close proximity to, mine entries should be avoided wherever possible, even after they have been treated / capped, in line with our adopted policy: https://www.gov.uk/government/publications/building-on-or-within-the-influencing-distance-of-mine-entries

We would like to add that mine gases can find routes to the surface through mine openings and other points of weakness in the overlying strata.  How, where and when gases move is very difficult to predict and can extend for some distance from the origin.  Therefore, we would expect gas monitoring installations to also be carried alongside the above site investigation works.

In order to ensure that sufficient information is provided by the applicant to demonstrate to the LPA that the site is, or can be made, safe and stable for the development proposed you may wish to consider the imposition of planning conditions which cover the issues set out below.

Prior to the submission of the reserved matters:

* The undertaking of the scheme of intrusive site investigations, designed by a competent person and adequate to properly assess the ground conditions on the site and establish the risks posed to the development by past coal mining activity;

* As part of the reserved matters application the submission of a report of findings arising from the intrusive site investigations and any remedial measures necessary, including the submission of a layout plan which identifies appropriate zones of influence for the mine entries, and the definition of suitable ‘no-build’ zones;

Prior to the commencement of development:

* Implementation of the remedial works.

In light of the submitted information, the Coal Authority therefore withdraws its objection to the proposed development subject to consideration by the LPA of the imposition of a condition or conditions to secure the above.

We look forward to being consulted on the subsequent reserved matters application for this site.

Please do not hesitate to contact me if you would like to discuss this matter further.

Yours sincerely

D Roberts

Deb Roberts M.Sc.
Planning Liaison Officer

General Information for the Applicant

Under the Coal Industry Act 1994 any intrusive activities, including initial site investigation boreholes, and/or any subsequent treatment of coal mine workings/coal mine entries for ground stability purposes require the prior written permission of the Coal Authority, since such activities can have serious public health and safety implications.  Failure to obtain permission will result in trespass, with the potential for court action.  In the event that you are proposing to undertake such work in the Forest of Dean local authority area our permission may not be required; it is recommended that you check with us prior to commencing any works.  Application forms for Coal Authority permission and further guidance can be obtained from the Coal Authority’s website at:

https://www.gov.uk/get-a-permit-to-deal-with-a-coal-mine-on-your-property

Any form of development over or within the influencing distance of a mine entry can be dangerous and has the potential for significant risks if not undertaken appropriately.  For more information with regard to this issue, the Coal Authority’s adopted policy, Development and Mine Entries, can be found here:

https://www.gov.uk/government/publications/building-on-or-within-the-influencing-distance-of-mine-entries

Disclaimer

The above consultation response is provided by The Coal Authority as a Statutory Consultee and is based upon the latest available data on the date of the response, and electronic consultation records held by The Coal Authority since 1 April 2013.  The comments made are also based upon only the information provided to The Coal Authority by the Local Planning Authority and/or has been published on the Council's website for consultation purposes in relation to this specific planning application.  The views and conclusions contained in this response may be subject to review and amendment by The Coal Authority if additional or new data/information (such as a revised Coal Mining Risk Assessment) is provided by the Local Planning Authority or the Applicant for consultation purposes.

In formulating this response The Coal Authority has taken full account of the professional conclusions reached by the competent person who has prepared the Coal Mining Risk Assessment or other similar report.  In the event that any future claim for liability arises in relation to this development The Coal Authority will take full account of the views, conclusions and mitigation previously expressed by the professional advisers for this development in relation to ground conditions and the acceptability of development.