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	Community Well-being and Development
Wrexham County Borough Council
16 Lord Street
Wrexham
LL11 1LG
Er sylw/ For the attention of:

Cerys Jones
	     Ein cyf / Our ref:je/CAS-23977-F5G5

Eich cyf / Your ref: P/2016/0873 
E-mail: joy.evans@cyfoethnaturiolcymru.gov.uk

Tel: 03000 65 5236

28th September 2016

	
	


Dear Mr Jones,
DOVE COTTAGE, BANGOR ROAD, CROSS LANES, WREXHAM -  P/2016/0873
DEMOLITION OF EXISTING DWELLING AND ERECTION OF REPLACEMENT DWELLING

Thank you for consulting Natural Resources Wales regarding the above proposal, which we received on 20th September 2016. 
Natural Resources Wales has no objection to the scheme, but would give the following advice.

Protected Species
The application is supported by an ecological submission (The Tyrer Partnership: Inspection and Assessment in Relation to bats Issued: 13/9/2016).
 
In our view, the ecological submission has been completed to a satisfactory standard. We therefore concur with the results, advice on avoidance measures and general mitigation recommendations and advise that they should be followed as set out in the ecological submission.
Foul Drainage
Government policy states that, where practicable, foul drainage should be discharged to the mains sewer. Where this is not possible and private sewage treatment / disposal facilities are utilised, they must be installed and maintained in accordance with British Standard 6297 and Approved Document H of the Building Regulations 2000. You should also have regard to Welsh Office Circular 10/99 in respect of planning requirements for non mains sewerage.

The written consent of NRW or registration for exemption by the developer will be required for any discharge e.g. foul drainage to a watercourse/ditch etc, from the site and may also be required for certain categories of discharges to land. All necessary NRW consents, or exemptions must be obtained prior to works progressing on site.The applicant will need to apply for a Permit or Exemption, if they wish to discharge anything apart from uncontaminated surface water to a watercourse/ditch. They may also need to apply for a Permit from our National Permitting Team to allow certain discharges into ground. 

In this particular case, the site is situated on a Principal Aquifer and within a Source Protection Zone, and is therefore considered sensitive with respect to controlled waters.  Source Protection Zones are designated by Natural Resources Wales to identify the catchment areas of sources of potable water (that is, high quality water supplies usable for human consumption) and show where they may be at particular risk from polluting activities on or below the land surface.  

 

Discharging foul drainage to ground will require an environmental permit or a registered exemption from us.  The permitting team can provide further advice on permit requirements.

 

We would expect all works to be carried out in accordance with the relevant EA pollution prevention guides to minimise the risk of pollution to controlled waters. The pollution prevention guidance below should be followed : 

PPG 4: Treatment and disposal of sewage where no foul sewer is available.  

PPG 5: Works and maintenance in or near water
The applicant must obtain any necessary Permit prior to works starting on site. The Welsh Government has also advised that all septic tanks and small sewage treatment plant discharges in Wales will need to be registered. More information, including a step by step guide to registering, is available on our website www.naturalresourceswales.gov.uk / www.cyfoethnaturiolcymru.gov.uk 

 

Please do not hesitate to contact us if we can be of any further assistance to you or if you wish clarification on the above.

Our comments above only relate specifically to matters that are included on our checklist “Natural Resources Wales and Planning Consultations” (March 2015) which is published on our website: (https://naturalresources.wales/planning-and-development/planning-and-development/?lang=en). We have not considered potential effects on other matters and do not rule out the potential for the proposed development to affect other interests, including environmental interests of local importance.  The applicant should be advised that, in addition to planning permission, it is their responsibility to ensure that they secure all other permits/consents relevant to their development.
Yours sincerely,
Joy Evans
Joy Evans

Development Planning Advisor 

www.cyfoethnaturiolcymru.gov.uk 
www.naturalresourceswales.gov.uk

Llwyn Brain, Ffordd Penlan, Parc menai, Bangor, Gwynedd  LL57 4DE
Croesewir gohebiaeth yn y Gymraeg a'r Saesneg
Correspondence welcomed in Welsh and English
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