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MEMORANDUM


													

From:	Head of Housing and Public	To:	Head of Community Wellbeing
	Protection 		and Development

Our Ref:	WK/201514519	Your Ref:	P/2015/0909

Date:	4th December 2015
						


Town and Country Planning Act 1990
Town and Country Planning (General Development Procedure) Order 1996

Re:  Prince Charles Road Wrexham     

Environmental Protection
Condition ZP04 if air handling plant proposed

ZP04	AIR HANDLING / EXTRACTION PLANT BS4142 ASSESSMENT
The rating level of any noise generated by air handling plant associated with the development shall not exceed the pre-existing background level by more than 5dB(A) at any time.  The noise levels shall be determined at nearby noise sensitive premises, and measurements and assessment shall be made in accordance with BS4142:2014 Methods for rating and assessing industrial and commercial sound.

Contaminated Land
No comments
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………………………………………………
Head of Housing and Public Protection

Enc.
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