MEMORANDUM

From:	Head of Housing and Public	To:	Head of Community Wellbeing

Protection 		and Development

Our Ref:	WK/201514519	Your Ref:	P/2015/0909

Date:	4th December 2015

Town and Country Planning Act 1990

Town and Country Planning (General Development Procedure) Order 1996

Re:  Prince Charles Road Wrexham

Environmental Protection

Condition ZP04 if air handling plant proposed

ZP04	AIR HANDLING / EXTRACTION PLANT BS4142 ASSESSMENT

The rating level of any noise generated by air handling plant associated with the development shall not exceed the pre-existing background level by more than 5dB(A) at any time.  The noise levels shall be determined at nearby noise sensitive premises, and measurements and assessment shall be made in accordance with BS4142:2014 Methods for rating and assessing industrial and commercial sound.

Contaminated Land

No comments

………………………………………………

Head of Housing and Public Protection

Enc.