MEMORANDUM

__________________

From:	Head of Housing and Public	To:	Head of Community Wellbeing

Protection 		and Development

Our Ref:	WK/201602321	Your Ref:	P/2016/0223

Date:	17th March 2016

Town and Country Planning Act 1990

Town and Country Planning (General Development Procedure) Order 1996

Re:  Nant Cottage Lower Road Coedpoeth Wrexham LL11 3TP

Environmental Protection

No comments

Contaminated Land

In relation to the discharge of the contaminated land condition the developer would need to have a desk study/Phase 1 report and potentially undertake an investigation too. The Landmark Envirosearch report that has been submitted can in part form the basis for a Phase 1 report however it is insufficient on its own because the risks to the proposed end use (for which planning permission has been granted) have not been evaluated based on potential contamination issues that exist at the site due to the history of mining within the area. Other information such as details of a site reconnaissance should also be included.

In conclusion I would advise that the submission for Condition 3 is insufficient to fulfil the requirements of the condition and therefore I would recommend that the condition is not discharged at this stage.

………………………………………………

Head of Housing and Public Protection

Enc.