Mytton Homes   
 Delivery Management Plan for Bulk Tanker Delivery of LPG  
Introduction

This document sets out the Delivery Management Plan for the bulk tanker delivery of LPG to the LPG tanks adjacent to 10 Rosemary Fields   
Delivery Management Objective
The DMP is to ensure that delivery of LPG to Rosemary Fields does not adversely affect the free flow of traffic on the adopted highway Rosemary Lane.

Delivery Service Vehicles
The LPG metered supply to the 6 semi-detached properties has 3 x2000 litre underground stock tanks. (Total storage is 6000 litres) These properties will use approximately 2000 litres per annum, therefore Budget Gas will only have to visit the development to top up and refill the LPG stock tanks 2 to 3 times in a year. 
All deliveries will be carried out between the hours of 10.00am and 3.00pm. 
Budget Gas Bulk Tankers are 2.3m wide and have a gross weight of 18 tons.

There is adequate parking for our Bulk Tanker in the private car parking area to the rear of no. 10 – as indicated on the attached plan ‘Proposed position of Tanker’
The plan shows the proposed delivery position of the lorry when delivering gas to plots 10-15.   A right of way through either plots 10,11 has been reserved to allow Hoses to be connected from the Tanker to the LPG Tanks.
Risk Assessment 
See attached risk assessment statements and delivery method statements.

Conclusion
The Delivery Management Plan will ensure that the position of the delivery vehicle will not adversely affect the free flow of traffic on the adopted highway.   
