MEMORANDUM

From:	Head of Housing and Public	To:	Head of Community Wellbeing

Protection 		and Development

Our Ref:	WK/201600639	Your Ref:	P/2016/0028

Date:	2nd February 2016

Town and Country Planning Act 1990

Town and Country Planning (General Development Procedure) Order 1996

Re:  Five Crosses Ind Est Minera Wrexham

Contaminated Land

Due to the potential for contamination issues as a result of historical use on site and surrounding area (Industrial Estate) of the land in the historical mining area of Minera, it will be necessary to condition any future consent so as to ensure that any potential contamination issues are adequately dealt with.  I would recommend that the following conditions and note to applicant be applied to any future consent that may be granted.

Condition

ZP01		CONTAMINATED LAND

No part of the development shall commence until a scheme to deal with potential contamination at the site has been submitted to and approved in writing by the Local Planning Authority.  This scheme shall include a phased investigation approach to identify the extent of contamination and any measures required to remediate the site, including post-development monitoring.

ZP02		VERIFICATION REPORT - CONTAMINATED LAND

No part of the development shall be occupied until a Verification Report which demonstrates that the remedial works approved as part of condition no. P/2015/0949 above have been satisfactorily carried out, has been submitted to and approved in writing by the Local Planning Authority.

Note to Applicant

A11NA	SITE CONTAMINATION

Further advice on compliance with condition no.P/2015/0968  may be obtained by contacting the Council's Environmental Protection Team on 01978 297 436.  Should the investigation identify contamination issues that may affect receptors other than the site users e.g. groundwater, then it is recommended that these works are also addressed in consultation with the Housing and Public Protection Department prior to commencement of works on site.

Environmental Protection

Advice Note

A23N		BURNING OF WASTE ADVICE

Burning of waste generated from construction activities is not considered to be an appropriate method of disposal and action may be taken as follows:

-  Under the Environmental Protection Act 1990 anyone found   disposing of construction site waste by burning is likely to be in breach of their duty of care with regard to waste disposal;

- Under the same Act an abatement notice may be served where smoke is judged to be causing a nuisance to neighbouring properties. Failure to comply with the requirements of such a notice can result in prosecution;

- Under the Clean Air Act 1993 it is an offence for a commercial activity to burn anything that gives rise to dark smoke.

To prevent offences under the above named Acts there should be no bonfires on the site, to include the prohibition of the burning of cleared vegetation. The applicant should contact the Council's Housing, Public Protection and Environment Department on 01978 298989 for further advice and information.

………………………………………………

Head of Housing and Public Protection

Enc.