## Sheet1
COMPARISON - GREENFIELD RUN OFF CALCS USING MASTERDRAIN HYDROLOGY OPTIONS
METHOD | Flow rate for 2 yr. Return period (l/s) | Flow rate for 5 yr. Return period (l/s) | Flow rate for 10yr.Return period (l/s) | Flow rate for 30yr.Return period (l/s) | Flow rate for 50yr.Return period (l/s) | Flow rate for 100yr.Return period (l/s)
ADAS-LDR 5 | 2.4 | 2.9 | 3.4 | 4.2 | 4.7 | 5.4
IoH 124/W5-074A* | 1.82 | 2.38 | 2.77 | 3.42 | 3.79 | 4.25 | * This seems most comprehensive
Urban Runoff (Qbar) | 2.7 | 3.54 | 4.12 | 5.08 | 5.63 | 6.33 | (MAF run off)
Sheet flow travel time | this might be usefull for calculating roof runoff? Need to ask the question!!