ADDITIONAL ECOLOGICAL MITIGATION MEASURES PROPOSED FOR NEW STORAGE UNITS

AT

BRYN-Y-PYS HOME FARM, WREXHAM ROAD, OVERTON, WREXHAM LL13 0LG

FOLLOWING

ECOLOGICAL REPORT BY SUSAN WORSFOLD`S REPORT DATED 3RD FEBRUARY 2021.

REASONABLE AVOIDANCE MEASURES UNDERTAKEN DURING WORKS.

All works will be carried out in accordance with the avoidance measured proposed by the report.

ENHANCEMENT RECOMMENDATIONS.

-It has already been proposed that 61 trees will be planted for this proposed development.

- A bat box will be erected on the building.

- One woodcrete nest box will be incorporated into the new building.

-One wooden nest box with 3 sub-divisions will be placed under the eaves.

LIGHTING DESIGNED IN ACCORDANCE WITH BAT CONSERVATION TRUST GUIDELINES.

The lighting for each storage unit comprise of three interior led lights  and one exterior light.

Since the units are storage units, the use of them is very limited and therefore the lighting use is very low.

There are no road lights for the site.

It is proposed that the Exterior lights are:-

1. Narrow Spectrum lights with no UV content.

2. Warm White LED since these have least impact on bat impact prey.

3. Turned on and off by a Switch since this will stop the lights being activated by mammals/humans walking past the access door.

4. Low Wattage lamps are used (<70W) since they will reduce glare and energy consumption.

5. Directional Downlights which illuminate below the horizontal plane and therefore avoids light trespass into the environment.