[bookmark: _GoBack][image: ][image: ][image: ][image: ][image: ][image: ]
image1.png
Attic Works
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Managers Office An ntemmalinspection f the floor and roof timbers on the ground, 15t

‘and 2nd floors and visible evidence of a recent nfestation of the
‘Common Furniture Beetle (Anobium punctatum) was noted.

The Managersoffice wall needs to be looked at  We recommend that allof the internaltimbers are treated with
due to wood worm s totally rotten thiswillbe. microemulsion insecticidal solution

done taking great care not o damage the.
original paneliing The Hooks on the wall above
fire place are to stay Fire place willbe taken out.
Redecorationin this area
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New Formation Ensuites
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Internal Doors

The 2 doors below willbe ok to change as
not original feature door

The white ane below may need to be.
changed on Young persons rooms, care.
workers rooms
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Fire Places — Hooks

Various rooms have fire places that willbe taken out the.
‘onesinthe young peoples bedrooms and staff rooms &
main lounge will not be taken out

Hooks i the ceiling willbe protected and boarded over
White Hooks in the managers office will be leftin place
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