For the Attention of: Mr M Phillips – Case Officer

Wrexham County Borough Council

[By Email: planning@wrexham.gov.uk]

[Copy Email: matthew.phillips@wrexham.gov.uk]

18 January 2021

Dear Mr Phillips

PLANNING APPLICATION: P/2020/0881

OUTLINE APPLICATION FOR 10 DWELLING AND CONSTRUCTION OF NEW ESTATE ROAD; Land Off, North Road, Ponciau, Wrexham

Thank you for your notification of 13 January 2021 seeking the views of the Coal Authority on the above planning application.

The Coal Authority is a non-departmental public body sponsored by the Department of Business, Energy & Industrial Strategy.  As a statutory consultee, The Coal Authority has a duty to respond to planning applications and development plans in order to protect the public and the environment in mining areas.

The Coal Authority Response: Material Consideration

I have reviewed the proposals and confirm that the application site falls within the defined Development High Risk Area; therefore within the application site and surrounding area there are coal mining features and hazards which need to be considered in relation to the determination of this planning application.

The Coal Authority records indicate that the site has been subject to both recorded and probable shallow coal mining that could be attributed to the thick coal seam (PIN) inferred to outcrop through the site (north / south direction).  In addition, 3no. recorded mine entries are within 20m of the site boundary; 2no. within the site boundary and the zone of influence of 1no. off-site mine entry marginally intersects the western part of the site.

The planning application is accompanied by a letter dated 07 December 2020 prepared by GroundSolve Ltd (Consulting Geotechnical, Engineering Geology and Environmental Engineers) which makes reference to the Coal Authority letter dated 17 November 2020.  It should be noted that the Coal Authority were consulted by R Bennett: Agent for Freedom Land Developments Limited as part of the pre-application process.

The above letter informs that Groundsolve Ltd have already undertaken a desk study of the Phase II section of the development which confirmed that mining is an issue at this site (plan appended to the letter).   Recommendations have been made that intrusive ground investigations are required in order to confirm the exact location / condition of the mine entries recorded within the site. We are pleased to note that the applicant is aware that the mine entries will impact on the layout of the development.

We are assuming that the investigations will include confirming the depth / condition of any shallow coal seams and the depth of competent rock cover.  As a general rule of thumb, if there is less than the standard 10 x rock cover to seam extraction ratio, this could affect the surface stability for the redevelopment of a site (CIRIA C758D Abandoned mine workings manual).

As this current application is only seeking outline consent with all matters reserved, and therefore the layout is not being determined, we consider that the intrusive ground investigations can be secured by the LPA imposing a suitably worded condition to ensure that as part of the supporting documentation for the reserved matters application, the applicant submits the results / findings / analysis of the ground investigation works.  Based on the above, the applicant should ensure that adequate separation is provided between the mine entries and buildings, including their respective zone of influence (no build zone).

The Coal Authority considers that due consideration should also be afforded to the risk from mine gas.  However the findings of the site investigations will enable the applicant’s technical consultants to design an appropriate mitigation strategy (ground stabilisation / gas protection measures etc) if deemed necessary, to ensure the safety and stability of the proposed development (Planning Policy Wales paras. 6.9.23 - 28).

The intrusive site investigations should be designed and undertaken by competent persons and should be appropriate to assess the ground conditions on the site in order to establish the coal-mining legacy present and the risks it may pose to the development and inform any mitigation measures that may be necessary.

Permission is required from the Coal Authority Permit and Licensing Team before undertaking any activity, such as ground investigation and ground works, which may disturb coal property.

The Coal Authority Recommendation to the LPA

In light of the above, the Coal Authority considers that as the applicant’s technical consultants have confirmed that there is a risk to the proposed development from former coal mining activity which requires further intrusive ground to be undertaken in order to inform the extent of any remedial and / or mitigation measures required to ensure that the development will be safe and stable, this can be secured by the LPA imposing a suitably worded condition.  The intrusive site investigations should be undertaken prior to the submission of the reserved matters application, in order that the findings can inform the layout of the development.

The LPA may wish to consider the imposition of planning conditions that cover the issues set out below.

1. Prior to the submission of the reserved matters application a scheme of intrusive site investigations has been carried out on site to establish the risks posed to the development by past coal mining activity.

2. As part of the reserved matters application the applicant should provide a report on the findings of the site investigations including any remediation works and/or mitigation measures required to address land instability arising from coal mining legacy, as may be necessary.  This should include the submission of the proposed layout plan which clearly illustrates the position of all on-site mine entries and the zone of influence of all mine entries that impact on this site.

These remedial measures should then be implemented on site in full prior to commencement of development in order to ensure that the site is made safe and stable for the development proposed (Planning Policy Wales paras. 6.9.23 – 28).

The intrusive site investigations and remedial works shall be carried out in accordance with authoritative UK guidance.

3.Prior to the occupation of the development, or it being taken into beneficial use, a signed statement or declaration prepared by a suitably competent person confirming that the site is, or has been made, safe and stable for the approved development shall be submitted to the Local Planning Authority for approval in writing.  This document shall confirm the methods and findings of the intrusive site investigations and the completion of any remedial works and/or mitigation necessary to address the risks posed by past coal mining activity.

This is our recommendation for condition wording. Whilst we appreciate that you may wish to make some amendment to the choice of words, we would respectfully request that the specific parameters to be satisfied are not altered by any changes that may be made.

The Coal Authority has no objection to the proposed development subject to the imposition of the conditions to secure the above.

Please do not hesitate to contact me if you would like to discuss this matter further.

Yours sincerely

D Roberts

Deb Roberts M.Sc. MRTPI
Planning & Development Manager

General Information for the Applicant

Under the Coal Industry Act 1994 any intrusive activities, including initial site investigation boreholes, and/or any subsequent treatment of coal mine workings/coal mine entries for ground stability purposes require the prior written permission of The Coal Authority, since such activities can have serious public health and safety implications.  Failure to obtain permission will result in trespass, with the potential for court action.  In the event that you are proposing to undertake such work in the Forest of Dean local authority area our permission may not be required; it is recommended that you check with us prior to commencing any works.  Application forms for Coal Authority permission and further guidance can be obtained from The Coal Authority’s website at:

https://www.gov.uk/get-a-permit-to-deal-with-a-coal-mine-on-your-property

Any form of development over or within the influencing distance of a mine entry can be dangerous and raises significant safety and engineering risks and exposes all parties to potential financial liabilities.  As a general precautionary principle, the Coal Authority considers that the building over or within the influencing distance of a mine entry should wherever possible be avoided.  In exceptional circumstance where this is unavoidable, expert advice must be sought to ensure that a suitable engineering design is developed and agreed with regulatory bodies which takes into account of all the relevant safety and environmental risk factors, including gas and mine-water.  Your attention is drawn to the Coal Authority Policy in relation to new development and mine entries available at:

https://www.gov.uk/government/publications/building-on-or-within-the-influencing-distance-of-mine-entries

Disclaimer

The above consultation response is provided by The Coal Authority as a Statutory Consultee and is based upon the latest available data on the date of the response, and electronic consultation records held by The Coal Authority since 1 April 2013.  The comments made are also based upon only the information provided to The Coal Authority by the Local Planning Authority and/or has been published on the Council's website for consultation purposes in relation to this specific planning application.  The views and conclusions contained in this response may be subject to review and amendment by The Coal Authority if additional or new data/information (such as a revised Coal Mining Risk Assessment) is provided by the Local Planning Authority or the Applicant for consultation purposes.

In formulating this response The Coal Authority has taken full account of the professional conclusions reached by the competent person who has prepared the Coal Mining Risk Assessment or other similar report.  In the event that any future claim for liability arises in relation to this development The Coal Authority will take full account of the views, conclusions and mitigation previously expressed by the professional advisers for this development in relation to ground conditions and the acceptability of development.