For the Attention of: Mr M Phillips – Case Officer

Wrexham County Borough Council

[By Email: planning@wrexham.gov.uk]

24 November 2020

Dear Mr Phillips

PLANNING APPLICATION: P/2020/0665

ERECTION OF TWO DWELLINGS; Nantcol, 57 Bryn Glas, Rhosllanerchrugog, Wrexham, LL14 2EA

Thank you for your notification of 03 November 2020 seeking the views of The Coal Authority on the above planning application.

The Coal Authority is a non-departmental public body sponsored by the Department of Business, Energy & Industrial Strategy.  As a statutory consultee, The Coal Authority has a duty to respond to planning applications and development plans in order to protect the public and the environment in mining areas.

The Coal Authority Response: Material Consideration

I have reviewed the proposals and confirm that the application site falls within the defined Development High Risk Area; therefore within the application site and surrounding area there are coal mining features and hazards which need to be considered in relation to the determination of this planning application.

The Coal Authority records indicate that this site lies within an area of recorded (RAUBON YARD) and probable shallow coal mining, a thick coal seam (STONE) outcrops to the west of the site (dipping towards the site) that may also have been historically worked at shallow depths and the presence of a recorded mine entry (CA shaft ref: 328345-300).  The Coal Authority hold no treatment details for this mine entry and due to the source data used to plot the position of this mine entry, there could be some deviation by several metres from its current position.

The planning application is accompanied by a Report, dated 17 June 2020 prepared for the proposed development by GroundSolve Ltd (Consulting Geotechnical, Engineering Geology and Environmental Engineers).  This Report has been informed by historical, geological and coal mining information including an historic borehole logs (c.100m south of the site) and ground investigations (one rotary borehole drilled to 25m depth / trial trenching) undertaken in March 2020.

Having carried out a review of the available desk based information the Report identifies that it is possible that shallow coal workings within the Raubon Yard coal seam is at an estimated depth of 17m beneath the site.  However, the Report goes on to state there is a discrepancy in the Coal Authority records relating to this recorded coal seam being present at 17m and again at 54m.  It does not appear that any of the Coal Authority abandonment plans have been reviewed by the report author to provide any explanation of this discrepancy.

In addition to the above, the Report has acknowledge the presence of a recorded mine shaft, within the site.   However, based on the review of historical information, the Report informs that no evidence of any shaft on or close to the site have been found.  It is noted that none of the source plans held by the Coal Authority have been reviewed.

We would normally expect that when the Coal Authority records confirm the presence of recorded mine workings / mine entries, the source plans be reviewed by the applicant’s technical consultants, prior to any ground investigation, in order that these mining features can be geo-referenced to minimise the physical works required within a site.

Notwithstanding the above, based on the findings of the ground investigations carried out in March 2020 the report author informs that no evidence of shallow coal and / or workings or the presence of the recorded mine entry (or unrecorded mine entries) were encountered.  In addition, given the significant depths of superficial deposits (greater than 25m), it has been identified that it is unlikely that the coal seam outcrops beneath the site and if present, would have been highly weathered and unlikely to be worked.  The Report concludes that the site is not considered to be at risk from former coal mining activity.

I have discussed this particular case with one the Permitting Managers who have confirmed that whilst they are satisfied that the Report has proved that the mine entry is not present within the site, the applicant should be aware that this mine entry could be present (based on the worst-case scenario) just outside the site boundary.   Therefore based on the depth of superficial deposits (c. 25m) the zone of influence of the mine entry would still affect the development at this site (Drawing No. C063/026).  Therefore we would welcome further commentary from the report author on what mitigatory measures (foundation design / gas protection measures) are considered necessary for the proposed development.

In addition, based on the Coal Authority records that both recorded and unrecorded shallow coal workings have taken place beneath the site, are Groundsolve Ltd satisfied that one rotary borehole (which did not confirm depth to rock head) is adequate to prove there is no risk to the site from coal seams / workings recorded as being present beneath the site.

In light of the above, the Coal Authority considers that further information is required in order for the applicant to demonstrate to the LPA that the site is safe and stable (Planning Policy Wales paras. 6.9 .23 – 28).  Whilst we would have no objection to the LPA granting planning permission for the proposed development, we would recommend that the LPA impose a suitably worded condition to secure the submission of further technical advice / mitigation measures as identified above (underlined) prior to commencement of development.

Please do not hesitate to contact me if you would like to discuss this matter further.

Yours sincerely

D Roberts

Deb Roberts M.Sc. MRTPI
Planning and Development Manager

General Information for the Applicant

Any form of development over or within the influencing distance of a mine entry can be dangerous and raises significant safety and engineering risks and exposes all parties to potential financial liabilities.  As a general precautionary principle, the Coal Authority considers that the building over or within the influencing distance of a mine entry should wherever possible be avoided.  In exceptional circumstance where this is unavoidable, expert advice must be sought to ensure that a suitable engineering design is developed and agreed with regulatory bodies which takes into account of all the relevant safety and environmental risk factors, including gas and mine-water.  Your attention is drawn to the Coal Authority Policy in relation to new development and mine entries available at: https://www.gov.uk/government/publications/building-on-or-within-the-influencing-distance-of-mine-entries

Disclaimer

The above consultation response is provided by The Coal Authority as a Statutory Consultee and is based upon the latest available data on the date of the response, and electronic consultation records held by The Coal Authority since 1 April 2013.  The comments made are also based upon only the information provided to The Coal Authority by the Local Planning Authority and/or has been published on the Council's website for consultation purposes in relation to this specific planning application.  The views and conclusions contained in this response may be subject to review and amendment by The Coal Authority if additional or new data/information (such as a revised Coal Mining Risk Assessment) is provided by the Local Planning Authority or the Applicant for consultation purposes.

In formulating this response The Coal Authority has taken full account of the professional conclusions reached by the competent person who has prepared the Coal Mining Risk Assessment or other similar report.  In the event that any future claim for liability arises in relation to this development The Coal Authority will take full account of the views, conclusions and mitigation previously expressed by the professional advisers for this development in relation to ground conditions and the acceptability of development.