	  [image: image2.png]
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Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com



Wrexham County

16 Lord Street 

Wrexham
LL11 1LG

	
	Date: 05/11/2020

	
	Our Ref: PLA0052212

	
	Your Ref: P/2020/0627


Dear Sir, 
Site: Wrenbury Court, Wrexham.
Development: Residential Development of 34 Dwellings Wrenbury Court, Wrenbury Way, Cefn Mawr Wrexham.
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 

ASSET PROTECTION  

The proposed development site is crossed or in close proximity to a 150mm diameter public combined raising main with its approximate position being marked on the attached Statutory Public Sewer Record. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times. No part of any building will be permitted within 3 metres either side of the centreline of this public sewer.  Should the proposed development be located within the protection zones of the sewer crossing, there would be a requirement to divert the public sewer, which can be applied for under Section 185 of the Water Industry Act 1991 albeit may prove unviable for the purposes of this development, given the nature of the sewer.  In the first instance, it is recommended that the developer carry out a survey to ascertain the location of this sewer and establish its relationship to the proposed development.

The site is also adjoining Cefn Mawr Waste Water Treatment Works to the south of the site.  Due to the proximity of the development to the Waste Water Treatment Works (WwTW), we recommend that you contact the Council’s Environmental Health Department for their views on whether there is the potential for odour nuisance on proposed housing that are in close proximity to our WwTW.   
 SEWERAGE  
Having reviewed the application, we note the developer proposes to dispose of foul flows via the public sewerage system and discharge surface water into a sustainable drainage system and / or soakaway system.  We also note that no detailed drainage strategy has been submitted in support of the application.  

As of the 7th January 2019 this proposed development is subject to Schedule 3 of the Flood and Water Management Act 2010. The development therefore requires approval of Sustainable Drainage Systems (SuDS) features, in accordance with national standards, and is strongly recommended that the developer
engage in pre-application consultation with the Wrexham County Borough Council, as the relevant SuDS Approval Body (SAB). Please note, DCWW is a statutory consultee to this application process and would provide comments on any SAB proposals.    

In light of the above and given the omission of a detailed drainage plan and strategy, we would kindly request that if you are minded to grant Planning Consent for the above development that the following Condition and Advisory Notes are included within the consent to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets.  

Condition    
No development shall commence until a foul water drainage scheme for the site has been submitted to and approved in writing by the local planning authority. The scheme shall provide for the disposal of foul water flows and include a detailed design outlining the measures proposed to accommodate the public sewer.  Thereafter the scheme shall be implemented in accordance with the approved details prior to the occupation of the development.   

Reason: To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no pollution of or detriment to the environment.  

Advisory Notes   

As of 7th January 2019, this proposed development is subject to Schedule 3 of the Flood and Water Management Act 2010. The development therefore requires approval of Sustainable Drainage Systems (SuDS) features, in accordance with the 'Statutory standards for sustainable drainage systems – designing, constructing, operating and maintaining surface water drainage systems'. It is therefore recommended that the developer engage in consultation with Wrexham County Borough Council, as the determining SuDS Approval Body (SAB), in relation to their proposals for SuDS features. Please note, Dwr Cymru Welsh Water is a statutory consultee to the SAB application process and will provide comments to any SuDS proposals by response to SAB consultation.   

The applicant may need to apply to Dwr Cymru / Welsh Water for any connection to the public sewer under S106 of the Water industry Act 1991. If the connection to the public sewer network is either via a lateral drain (i.e. a drain which extends beyond the connecting property boundary) or via a new sewer (i.e. serves more than one property), it is now a mandatory requirement to first enter into a Section 104 Adoption Agreement (Water Industry Act 1991). The design of the sewers and lateral drains must also conform to the Welsh Ministers Standards for Gravity Foul Sewers and Lateral Drains, and conform with the publication "Sewers for Adoption"- 7th Edition. Further information can be obtained via the Developer Services pages of www.dwrcymru.com.   

The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011. The presence of such assets may affect the proposal. In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
Alaw Jones 

Development Control Officer

Developer Services 
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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