For the Attention of: Mr M Phillips – Case Officer

Wrexham County Borough Council

[By Email: planning@wrexham.gov.uk]

24 November 2020

Dear Mr Phillips

PLANNING APPLICATION: P/2020/0700

DISCHARGE CONDITIONS 4, 6 AND 10 ATTACHED TO P/2018/1047; Nantcol, 57 Bryn Glas, Rhosllanerchrugog, Wrexham

Thank you for your notification of 11 November 2020 seeking the views of the Coal Authority on the above discharge of condition application.

The Coal Authority’s specific interest is Condition 4 as it requires that:

Development shall not commence until the following has been submitted to and approved in writing by the Local Planning Authority:

i) the submission of a report of findings arising from a scheme of intrusive site investigations that shall have been carried out;

ii) details of any remedial measures that are necessary, including the submission of a layout plan which identifies appropriate zones of influence for the mine entries, and the definition of suitable 'no-build' zones

Where remedial measures are proposed, they shall be implemented in strict accordance with the details as are approved prior to the commencement of any part of the development.

The discharge of condition application is accompanied by a Report, dated 17 June 2020 prepared for the proposed development by GroundSolve Ltd (Consulting Geotechnical, Engineering Geology and Environmental Engineers.  This Report has been informed by historical, geological and coal mining information including historic borehole logs (c.100m south of the site) and ground investigations (one rotary borehole drilled to 25m depth / trial trenching) undertaken in March 2020.

Having carried out a review of the available information the report author identified that it was possible that shallow coal workings are present beneath the site.  However, it has been identified there is a discrepancy in the Coal Authority records relating to a recorded coal seam being present at 17m and again at 54m.  In addition to the above, the Report has acknowledge the presence of a recorded mine shaft, could also be present within the site.  It would appear that none of the source plans / abandonment plans held by the Coal Authority have been reviewed.

In order to prove the exact ground conditions present beneath the site, GroundSolve Ltd carried out intrusive ground investigations in the form of 1no. rotary borehole and trial trenching.  Based on the findings of the ground investigations carried out in March 2020 the report author informs that no evidence of shallow coal seams / workings or the presence of the recorded mine entry (or unrecorded mine entries) were encountered.  In addition, given the significant depths of superficial deposits (greater than 25m), it has been identified that it is unlikely that the coal seam outcrops beneath the site and if present, would have been highly weathered and unlikely to be worked.  The Report concludes that the site is not considered to be at risk from former coal mining activity.

Whilst the applicant’s technical consultants have proved that the mine entry is not present within the site, the applicant should be aware that this mine entry could be present (based on the worst-case scenario) just outside the northern site boundary, therefore based on the depth of superficial deposits found within the rotary borehole (c. 25m) it is unclear if the zone of influence of the mine entry would affect the approved development (Drawing No. C063/022).  Therefore, we would welcome the submission of the approved layout plan, which identifies the calculated zone of influence of the mine entry.  If this extends into the approved site, we would welcome further commentary from the report author on what mitigatory measures (eg foundation design / gas protection measures) are considered necessary in order that the approved development will be safe and stable (Planning Policy Wales paras. 6.9.23 – 28).

In addition, we would welcome clarification from Groundsolve Ltd that they are satisfied that one rotary borehole (which did not confirm depth to rock head) is adequate to prove there is no risk to the site from coal seams / workings recorded as being present beneath the site when the Coal Authority records indicate that both recorded and unrecorded shallow coal mining has taken place beneath this site.

In light of the above, the Coal Authority is unable to recommend that the LPA fully discharge Condition 4 of issued consent: P/2018/1047.  Whilst subsection (i) has been met, further information is required to meet the requirements of wording of sub section (ii) ii) details of any remedial measures that are necessary, including the submission of a  layout plan which identifies appropriate zones of influence for the mine entries, and the definition of suitable 'no-build' zones. Where remedial measures are proposed, they shall be implemented in strict accordance with the details as are approved prior to the commencement of any part of the development.

We welcome the opportunity to review and comment on further information submitted in support of this discharge of condition application.

Please do not hesitate to contact me if you would like to discuss this matter further.

Yours sincerely

D Roberts

Deb Roberts M.Sc. MRTPI
Planning and Development Manager

General Information for the Applicant / Developer

Any form of development over or within the influencing distance of a mine entry can be dangerous and raises significant safety and engineering risks and exposes all parties to potential financial liabilities.  As a general precautionary principle, the Coal Authority considers that the building over or within the influencing distance of a mine entry should wherever possible be avoided.  In exceptional circumstance where this is unavoidable, expert advice must be sought to ensure that a suitable engineering design is developed and agreed with regulatory bodies which takes into account of all the relevant safety and environmental risk factors, including gas and mine-water.  Your attention is drawn to the Coal Authority Policy in relation to new development and mine entries available at: https://www.gov.uk/government/publications/building-on-or-within-the-influencing-distance-of-mine-entries

Disclaimer

The above consultation response is provided by The Coal Authority as a Statutory Consultee and is based upon the latest available data on the date of the response, and electronic consultation records held by The Coal Authority since 1 April 2013.  The comments made are also based upon only the information provided to The Coal Authority by the Local Planning Authority and/or has been published on the Council's website for consultation purposes in relation to this specific planning application.  The views and conclusions contained in this response may be subject to review and amendment by The Coal Authority if additional or new data/information (such as a revised Coal Mining Risk Assessment) is provided by the Local Planning Authority or the Applicant for consultation purposes.

In formulating this response The Coal Authority has taken full account of the professional conclusions reached by the competent person who has prepared the Coal Mining Risk Assessment or other similar report.  In the event that any future claim for liability arises in relation to this development The Coal Authority will take full account of the views, conclusions and mitigation previously expressed by the professional advisers for this development in relation to ground conditions and the acceptability of development.