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	Developer Services

PO Box 3146

Cardiff

CF30 0EH
Tel:   +44 (0)800 917 2652
Fax:   +44 (0)2920 740472

E.mail: developer.services@dwrcymru.com
	Gwasanaethau Datblygu

Blwch Post 3146

Caerdydd

CF30 0EH

Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com



Wrexham County

 16

Lord Street 

WREXHAM

LL11 1LG

	
	Date: 31/03/2021

	
	Our Ref: PLA0055513

	
	Your Ref: P/2021/0234


Dear Sir
Grid Ref: SJ445412 344607 341319

Site: Glebe House Farm,  Horsemans Green Road, Wrexham

Development: Outline Application (All Matters Reserved) For Up To 4 Dwellings

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 

We would request that if you are minded to grant Planning Consent for the above development that the    Conditions and Advisory Notes provided below are included within the consent to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets.

As of 7th January 2019, this proposed development is subject to Schedule 3 of the Flood and Water Management Act 2010. The development therefore requires approval of Sustainable Drainage Systems (SuDS) features, in accordance with the 'Statutory standards for sustainable drainage systems – designing, constructing, operating and maintaining surface water drainage systems'. It is therefore recommended that the developer engage in consultation with [Council Name], as the determining SuDS Approval Body (SAB), in relation to their proposals for SuDS features. Please note, Dwr Cymru Welsh Water is a statutory consultee to the SAB application process and will provide comments to any SuDS proposals by response to SAB consultation.


It appears the application does not propose to connect to the public sewer, and therefore Dwr Cymru Welsh Water has no further comments. However, should circumstances change and a connection to the public sewerage system/public sewage treatment works is preferred we must be re-consulted on this application.


Since the proposal intends utilising an alternative to mains drainage we would advise that the applicant seek advice from Natural Resources Wales and or the Building Regulations Authority / Approved Building Inspector as both are responsible to regulate alternative methods of drainage.


However, should circumstances change and a connection to the public sewerage system/public sewerage treatment works is preferred we must be re-consulted on this application.

[CONSULTATION_OUTCOME2]
[CONSULTATION_OUTCOME3]
[CONSULTATION_OUTCOME4]
[CONSULTATION_OUTCOME5]
[CONSULTATION_OUTCOME6]
[CONSULTATION_OUTCOME7]
[CONSULTATION_OUTCOME8]

[CONSULTATION_OUTCOME9]
[CONSULTATION_OUTCOME10]
[CONSULTATION_OUTCOME11]
[CONSULTATION_OUTCOME12]
Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
	     [image: image3.png]olas

Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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