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	Developer Services

PO Box 3146

Cardiff

CF30 0EH
Tel:   +44 (0)800 917 2652
Fax:   +44 (0)2920 740472

E.mail: developer.services@dwrcymru.com
	Gwasanaethau Datblygu

Blwch Post 3146

Caerdydd

CF30 0EH

Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com



Wrexham County

 16

Lord Street 

WREXHAM

LL11 1LG

	
	Date: 12/01/2021

	
	Our Ref: PLA0053896

	
	Your Ref: P/2020/0800


Dear Sir
Grid Ref: SJ331553 333187 355371

Site:   ROYAL BRITISH LEGION, WATTS DYKE, LLAY, WREXHAM

Development: DISCHARGE OF CONDITION 3 (DRAINAGE) OF P/2020/0155

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 

We would request that if you are minded to grant Planning Consent for the above development that the    Conditions and Advisory Notes provided below are included within the consent to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets.

We refer to the above application regarding the information submitted pursuant to the discharge of condition no. 3 attached to the above planning permission


Drainage Layout which shows the proposed foul and drainage layout and comment as follows: 


The proposed development site is crossed by a public surface water sewer, from reviewing the proposed drainage layout it does not appear that the location of the surface water sewer has been plotted, therefore we cannot determine the proximity of the proposed drainage to the existing public sewer.


Welsh Water objects to the discharge of condition no.3 at this time, we request that we are provided with an updated drainage layout showing the location of the public surface water sewer, upon receiving this we will provide updated comments.

[CONSULTATION_OUTCOME2]
[CONSULTATION_OUTCOME3]
[CONSULTATION_OUTCOME4]
[CONSULTATION_OUTCOME5]
[CONSULTATION_OUTCOME6]
[CONSULTATION_OUTCOME7]
[CONSULTATION_OUTCOME8]

[CONSULTATION_OUTCOME9]
[CONSULTATION_OUTCOME10]
[CONSULTATION_OUTCOME11]
[CONSULTATION_OUTCOME12]
Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
	     [image: image3.png]olas

Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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