For the Attention of: Ms S Greenland – Case Officer

Wrexham County Borough Council

[By Email: planning@wrexham.gov.uk]

30 November 2020

Dear Mr Greenland

PLANNING APPLICATION: P/2020/0725

ERECTION OF 12 APARTMENTS; Bonc Wen, Rhosllanerchrugog, Wrexham, LL14 2EE

Thank you for your notification of 18 November 2020 seeking the views of the Coal Authority on the above planning application.

The Coal Authority is a non-departmental public body sponsored by the Department of Business, Energy & Industrial Strategy.  As a statutory consultee, The Coal Authority has a duty to respond to planning applications and development plans in order to protect the public and the environment in mining areas.

The Coal Authority Response: Material Consideration

I have reviewed the proposals and confirm that the application site falls within the defined Development High Risk Area; therefore within the application site and surrounding area there are coal mining features and hazards which need to be considered in relation to the determination of this planning application.

The Coal Authority records indicate that the site is within an area of both recorded and unrecorded shallow coal mining and the presence of 2no. recorded on-site mine entries.

The planning application is accompanied by a Coal Mining Risk Assessment, dated 26 October 2020 prepared for the proposed development by NKC Geotech Ltd.  The Assessment has been informed by an appropriate range of sources of information, including the results of previous site investigation reports.

Having carried out an in-depth review of the available information together with the findings of the site investigation works, the report author identifies that the site has been subject to former coal mining activity (shallow coal mining / recorded mine entries).  We are pleased to note that the location and identified no build zone of the 2no. on-site mine entries has informed the layout being considered and is clearly illustrated on the site plan appended to the Report.  The layout is as per the layout being considered as part of this planning application: Drawing No.  5525_SK8000 Rev P7 – Site Layout Plan of which the applicant has designed to avoid built development taking place over or within influencing distance of these mining features.

In light of the above, recommendations have been made that the site will required ground stabilisation works (drill and grouting of shallow coal workings) subject to further ground investigations (10no. rotary boreholes drilled to 30m depth) and both mine entries will be treated / capped in line with current industry standards (CIRIA C758D Abandoned mine workings manual).

The applicant is aware that Permission is required from the Coal Authority Permit and Licensing Team before undertaking any activity, such as further ground investigations / ground treatment works, which may disturb coal property.

Once the exact ground conditions within / beneath the site have been established the applicant’s technical consultants can then design the required mitigation strategy / remedial measures to be incorporated as part of this development to ensure that the proposed development is safe and stable (Planning Policy Wales paras. 6.9.23 – 28).

The Coal Authority Recommendation to the LPA

The Coal Authority concurs with the conclusions / recommendations of the Coal Mining Risk Assessment, dated 26 October 2020 based on the professional opinions provided by NKC Geotech Ltd that based on the findings of the site investigations, the site is currently at risks from former coal mining activity (shallow coal mining / mine entries).  In order to mitigate the risk, appropriate recommendations have been made that further  assessment  / intrusive site investigation works are required to inform the extent of the mitigation strategy to ensure that the development will be safe and stable (Planning Policy Wales, paras. 6.9.23 – 28).

The LPA may wish to consider the imposition of planning conditions that cover the issues set out below.

1. No development shall commence until;

a) a further scheme of intrusive site investigations has been carried out on site to establish the extent of the risks posed to the development by past coal mining activity, and;

b) any remediation works and/or mitigation measures to address land instability arising from coal mining legacy, as may be necessary, have been implemented on site in full in order to ensure that the site is made safe and stable for the development proposed.

The intrusive site investigations and remedial works shall be carried out in accordance with authoritative UK guidance.

2. Prior to the occupation of the development, or it being taken into beneficial use, a signed statement or declaration prepared by a suitably competent person confirming that the site is, or has been made, safe and stable for the approved development shall be submitted to the Local Planning Authority for approval in writing.  This document shall confirm the methods and findings of the intrusive site investigations and the completion of any remedial works and/or mitigation necessary to address the risks posed by past coal mining activity.

The Coal Authority has no objection to the proposed development (Drawing No.  5525_SK8000 Rev P7 – Site Layout Plan) subject to consideration by the LPA of the imposition of a condition or conditions to secure the above.

Please do not hesitate to contact me if you would like to discuss this matter further.

Yours sincerely

D Roberts

Deb Roberts M.Sc. MRTPI
Planning and Development Manager

General Information for the Applicant

Under the Coal Industry Act 1994 any intrusive activities, including initial site investigation boreholes, and/or any subsequent treatment of coal mine workings/coal mine entries for ground stability purposes require the prior written permission of The Coal Authority, since such activities can have serious public health and safety implications.  Failure to obtain permission will result in trespass, with the potential for court action.  In the event that you are proposing to undertake such work in the Forest of Dean local authority area our permission may not be required; it is recommended that you check with us prior to commencing any works.  Application forms for Coal Authority permission and further guidance can be obtained from The Coal Authority’s website at:

https://www.gov.uk/get-a-permit-to-deal-with-a-coal-mine-on-your-property

Any form of development over or within the influencing distance of a mine entry can be dangerous and raises significant safety and engineering risks and exposes all parties to potential financial liabilities.  As a general precautionary principle, the Coal Authority considers that the building over or within the influencing distance of a mine entry should wherever possible be avoided.  In exceptional circumstance where this is unavoidable, expert advice must be sought to ensure that a suitable engineering design is developed and agreed with regulatory bodies which takes into account of all the relevant safety and environmental risk factors, including gas and mine-water.  Your attention is drawn to the Coal Authority Policy in relation to new development and mine entries available at: https://www.gov.uk/government/publications/building-on-or-within-the-influencing-distance-of-mine-entries

Where development is proposed over areas of coal and past coal workings at shallow depth, The Coal Authority is of the opinion that applicants should consider wherever possible removing the remnant shallow coal.  This will enable the land to be stabilised and treated by a more sustainable method; rather than by attempting to grout fill any voids and consequently unnecessarily sterilising the nation’s asset.  Prior extraction of surface coal requires an Incidental Coal Agreement from The Coal Authority.  Further information can be found at:

https://www.gov.uk/get-a-licence-for-coal-mining

Disclaimer

The above consultation response is provided by The Coal Authority as a Statutory Consultee and is based upon the latest available data on the date of the response, and electronic consultation records held by The Coal Authority since 1 April 2013.  The comments made are also based upon only the information provided to The Coal Authority by the Local Planning Authority and/or has been published on the Council's website for consultation purposes in relation to this specific planning application.  The views and conclusions contained in this response may be subject to review and amendment by The Coal Authority if additional or new data/information (such as a revised Coal Mining Risk Assessment) is provided by the Local Planning Authority or the Applicant for consultation purposes.

In formulating this response The Coal Authority has taken full account of the professional conclusions reached by the competent person who has prepared the Coal Mining Risk Assessment or other similar report.  In the event that any future claim for liability arises in relation to this development The Coal Authority will take full account of the views, conclusions and mitigation previously expressed by the professional advisers for this development in relation to ground conditions and the acceptability of development.