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Wrexham County Council
16 Lord Street 

Wrexham
LL11 1LG

	
	Date: 24/08/2020

	
	Our Ref: PLA0050774

	
	Your Ref: P/2020/0363


Dear Sir,
Grid Ref: SJ363483 336852 348072

Site: Land west of Sesswick Way, Marchiwel, Wrexham

Development: Glasshouse With Packing Facility And Offices, Energy Centre, Recovery Plant And Reservoirs
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 

SEWERAGE

The site is crossed by a 1200mm treated effluent sewer and 450mm and 200mm combined public raising mains with their approximate positions being marked on the attached Statutory Public Sewer Records.  Under Section 159 of the Water Industry Act 1991, Dwr Cymru Welsh Water has rights of access to its apparatus at all times in order to carry out maintenance and repairs.  We note the proposed development is to be sited on top of our strategic treated effluent sewer and in close proximity to our raising mains.

Further to our consultation response to the pre-application consultation under Schedule 1C Article 2D of the Town & Country Planning (Development Management Procedure) (Wales) (Amendment) Order 2016, we have worked proactively with the applicants advising of the requirements to protect the structural condition of the strategic treated effluent sewer and public raising mains crossing the site.  As part of our dialogue we have also advised that foul flows from the proposed development should be communicating with the combined sewer at or downstream of manhole reference SJ37483101 as indicated on the attached plan.

In light of this position we request that if you are minded to grant planning consent for the above development(s), the conditions and advisory notes provided below are included within the consent to ensure no detriment to existing residents or the environment and to Welsh Water’s assets. Please note that in the absence of the following conditions being imposed on any consent granted for the development(s) we would not be able to support and accordingly should you have any concerns please contact us immediately to discuss our position. Our preference would be to see sight of the broad principles of the protection measures being proposed before planning consent is awarded but owing to dialogue with the applicant to date, we are content for these details to be submitted by way of condition. Please note that in line with the discussions with the Applicant the condition seeks to ensure that temporary measures for the protection of the assets during initial construction phases as any permanent measures for the lifetime of the development are provided and approved by the Authority.    
Conditions  

No development shall commence until a scheme(s) to protect the structural condition of the strategic treated effluent sewer and public raising mains crossing the site have been submitted to and approved in writing by the Local Planning Authority. The scheme(s) shall provide for any protection measures during construction and occupation phases of the development.  The scheme(s) shall demonstrate the distance and relationship of the proposed development with the sewers crossing and include a detailed design, construction method statement and risk assessment outlining the measures taken to secure and protect the structural condition and ongoing access of the sewers.  No other development pursuant to this permission shall be carried out until the approved protection measures have been implemented and completed. The approved scheme(s) shall be adhered to throughout the lifetime of the development and the protection measures shall be retained in perpetuity.

Reason: To ensure that the proposed development does not affect the integrity of the public sewerage system in the interests of public health and safety.

No development shall commence until a foul water drainage scheme for the site has been submitted to and approved in writing by the local planning authority. The scheme shall provide for the disposal of foul water flows and thereafter implemented in accordance with the approved details prior to the occupation of the development. 

Reason: To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no pollution of or detriment to the environment.  

Advisory Notes  

As of 7th January 2019, this proposed development is subject to Schedule 3 of the Flood and Water Management Act 2010. The development therefore requires approval of Sustainable Drainage Systems (SuDS) features, in accordance with the 'Statutory standards for sustainable drainage systems – designing, constructing, operating and maintaining surface water drainage systems'. It is therefore recommended that the developer engage in consultation with Wrexham County Borough Council, as the determining SuDS Approval Body (SAB), in relation to their proposals for SuDS features. Please note, Dwr Cymru Welsh Water is a statutory consultee to the SAB application process and will provide comments to any SuDS proposals by response to SAB consultation.  

The applicant may need to apply to Dwr Cymru / Welsh Water for any connection to the public sewer under S106 of the Water industry Act 1991. If the connection to the public sewer network is either via a lateral drain (i.e. a drain which extends beyond the connecting property boundary) or via a new sewer (i.e. serves more than one property), it is now a mandatory requirement to first enter into a Section 104 Adoption Agreement (Water Industry Act 1991). The design of the sewers and lateral drains must also conform to the Welsh Ministers Standards for Gravity Foul Sewers and Lateral Drains, and conform with the publication "Sewers for Adoption"- 7th Edition. Further information can be obtained via the Developer Services pages of www.dwrcymru.com.
The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011. The presence of such assets may affect the proposal. In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

If the development will give rise to a new discharge (or alter an existing discharge) of trade effluent, directly or indirectly to the public sewerage system, then a Discharge Consent under Section 118 of the Water Industry Act 1991 is required from Dwr Cymru / Welsh Water.  Please note that the issuing of a Discharge Consent is independent of the planning process and a consent may be refused although planning permission is granted.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
Alaw Jones
Development Control Officer

Developer Services
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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