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	Developer Services

PO Box 3146

Cardiff

CF30 0EH
Tel:   +44 (0)800 917 2652
Fax:   +44 (0)2920 740472

E.mail: developer.services@dwrcymru.com
	Gwasanaethau Datblygu

Blwch Post 3146

Caerdydd

CF30 0EH

Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com



Wrexham County Borough Council 
16, Lord Street 

Wrexham
LL11 1LG

	
	Date: 28/10/2020

	
	Our Ref: PLA0052144

	
	Your Ref: P/2020/0600


Dear Sir,
Site: Land at Ruabon Buisness Park Site Ruabon

Development: Discharge of Condition 12 (Drainage) of P/2018/0053 Ruabon Business Park Adjacent To A483 Ruabon, Wrexham.
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 
Having reviewed the proposed drainage layout drawings submitted in support of the application to discharge condition 12 from planning permission P/2018/0053, we note it is proposed to communicate foul flows with the 525mm combined sewer at manhole reference SJ30430401 and discharge surface water runoff into a watercourse. 

The 525mm combined sewer is a strategic asset and as such we wouldn't allow a third party to form the connection with the sewer.  Under Section 107 of the Water Industry Act 1991, Welsh Water Dwr Cymru as the sewerage undertaker would invoke its powers to undertake the making of the communication with the public sewer on the applicant's behalf.  Please note that the applicant would be liable to pay the costs in full. 

We note it is proposed for the proposed surface water drain to cross the public foul raising main in order to reach the watercourse.  Please be advised that this will be subject to further assessment to ensure we have sufficient protection and cover.

ADVISORY NOTE 

Please note that the applicant has not obtained approval under Section 104 of the Water Industry Act 1991 for the formal adoption of drainage. The drainage proposal will be subject to Welsh Minister design and Sewers for Adoption (7th Edition) standards. It is a mandatory requirement for the applicant to obtain Section 104 approval for the laying of adoptable drainage. Should the proposal alter as a result of the Section 104 process, the applicant will be responsible for notifying the Local Planning Authority.
Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
Alaw Jones 

Development Control Officer

Developer Services
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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