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	Developer Services

PO Box 3146

Cardiff

CF30 0EH
Tel:   +44 (0)800 917 2652
Fax:   +44 (0)2920 740472

E.mail: developer.services@dwrcymru.com
	Gwasanaethau Datblygu

Blwch Post 3146

Caerdydd

CF30 0EH

Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com



Wrexham County Borough Council 
16 Lord Street 

Wrexham
LL11 1LG

	
	Date: 17/09/2020

	
	Our Ref: PLA0051259

	
	Your Ref: P/2020/0497


Dear Sir,
Site: Bakers Lane Community School, Barkers Lane, Wrexham.
Development: Extensions to existing school, refurbishment and internal remodelling, external works to form new area of car parking together with enhanced play areas and associated ancillary facilities.
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 

ASSET PROTECTION
The proposed development site is crossed by a 150mm diameter foul gravity public sewer with its approximate position being marked on the attached Statutory Public Sewer Record. Under Section 159 of the Water Industry Act 1991, Dwr Cymru Welsh Water has rights of access to its apparatus at all times, and as such would require an easement of 3m either side of the centreline of this pipe. Should the proposed development be located within the protection zones of the sewer crossings, there would be a requirement to divert the public sewer, which can be applied for under Section 185 of the Water Industry Act 1991.

SEWERAGE

At present we are unable to determine whether there is capacity within the sewerage network to accommodate the proposed development.  We therefore request clarification whether there will be an increase in foul flows as a result of the proposed development and would request anticipated foul flow rates are provided as part of the application. 

Until such time as details of the development’s anticipated foul flow rates are provided, we are unable to support the application and therefore object to the application.
Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
Alaw Jones

Development Control Officer

Developer Services
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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