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	Developer Services

PO Box 3146

Cardiff

CF30 0EH
Tel:   +44 (0)800 917 2652
Fax:   +44 (0)2920 740472

E.mail: developer.services@dwrcymru.com
	Gwasanaethau Datblygu

Blwch Post 3146

Caerdydd

CF30 0EH

Ffôn:  +44 (0)800 917 2652

Ffacs:  +44 (0)2920 740472
E.bost: developer.services@dwrcymru.com



Wrexham County Council
16 Lord Street 

Wrexham
LL11 1LG

	
	Date: 18/03/2020

	
	Our Ref: PLA0048114

	
	Your Ref: P/2020/0035


Dear Sir,
Grid Ref: SJ331496 333127 349674

Site: 45-47 Oak Tree Tavern, Ruabon Road, Wrexham

Development: Approval of details reserved by conditions imposed under planning P/2019/0348. Condition 3, 4, 5, 6, 8 & 14

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 

Dwr Cymru Welsh Water (DCWW) were consulted on the original planning application and by response (Ref: PLA0042276) offered no objection subject to recommended condition and advisory notes, along with reference to an existing sewer crossing the site. We note that the application was approved subject to drainage related conditions, including condition 14 which requires the submission of a comprehensive drainage scheme.

As part of this latest application for discharge of conditions 3, 4, 5, 6, 8 and 14, we acknowledge receipt of a ‘Proposed Drainage Plan’ (Drawing No. 19.2109.20) which indicates proposals to discharge foul and surface water flows to the public sewerage system. However, the submitted scheme is unacceptable as there is no agreement to communicate surface water flows to the public sewerage system. As highlighted within our original response (Ref: PLA0042276), this proposed development is subject to Schedule 3 of the Flood and Water Management Act 2010, however does not benefit from SAB consent for a public sewerage connection.

Therefore, we OBJECT and respectfully request this application for discharge of condition 14 is refused. Alternatively should the applicants seek to amend the scheme to dispose of surface water flows by alternative means and request we are re-consulted on receipt of this amended information.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
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Alaw Jones

Development Control Officer

Developer Services
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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