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Lord Street 








Your Ref: P/2019/0542
Wrexham
LL11 1LG

Dear Sir,
Site: Cinders Barn, Cinders Lane, Ruabon

Development: Conversion to office accommodation including car parking and all associated work.

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development. 
This planning application falls within a Drinking Water Protected Area under Article 7 of the Water Framework Directive.  This Article requires the UK to take action to protect drinking water sources.  Section 7.3 states that the aim is ‘to avoid deterioration in water quality where this may lead to additional purification treatment being required’.

The site is located within a DCWW Drinking Water Catchment known as ‘Chester Poulton River Dee’, which is a surface water abstraction.

We presume that all compliance and best practice guidelines will be followed in respect to the building and maintenance and operation of the Poultry Farm. We therefore have further no comment on the application, but would like to reiterate to the applicant that the facility is within a Drinking Water Catchment.   

We would also like to make the applicant aware that our assessment is based on a review of recent supplementary information supplied with specific reference to the Environmental Impact Statement, Design and Access Statement and Planning Statement. The NRW Decision Document regarding an Environmental permit does not address Article 7 of the Water Framework Directive so therefore cannot be used as evidence to answer questions we have asked during the planning application stage.

SEWERAGE 
Since the proposal intends utilising an alternative to mains drainage we would advise that the applicant seek advice from Natural Resources Wales and or the Local Authority Building control Department / Approved Building Inspector as both are responsible to regulate alternative methods of drainage.

However, should circumstances change and a connection to the public sewerage system/public sewerage treatment works is preferred we must be re-consulted on this application.

Advisory Notes   

The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011.  The presence of such assets may affect the proposal.  In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com
Please quote our reference number in all communications and correspondence.
Yours faithfully, 
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  Rhodri Perry

  Development Control Officer

  Developer Services
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Glas Cymru Cyfyngedig




Welsh Water is owned by Glas Cymru – a ‘not-for-profit’ company.

Mae Dŵr Cymru yn eiddo i Glas Cymru – cwmni ‘nid-er-elw’.
	We welcome correspondence in

Welsh and English

Dŵr Cymru Cyf, a limited company registered in

Wales no 2366777. Registered office: Pentwyn Road,

Nelson, Treharris, Mid Glamorgan CF46 6LY
	Rydym yn croesawu gohebiaeth yn y

Gymraeg neu yn Saesneg

Dŵr Cymru Cyf, cwmni cyfyngedig wedi’i gofrestru yng

Nghymru rhif 2366777. Swyddfa gofrestredig: Heol Pentwyn

Nelson, Treharris, Morgannwg Ganol CF46 6LY.
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