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Wrexham County Borough Council

	[bookmark: _Toc368647613]
Ein cyf/Our ref: CAS-53821-Q8F5
Eich cyf/Your ref: P/2018/0056

Cyfoeth Naturiol Cymru
Natural Resources Wales
Maes y Ffynnon
Penrhosgarnedd
Bangor
Gwynedd
LL57 2DW

Ebost/Email:	Northplanning@cyfoethnaturiolcymru.gov.uk
Ffôn/Phone: 	(0300) 065 3787




Date: 8th February 2018

Dear Sir/Madam,

APPLICATION FOR OUTLINE PLANNING PERMISSION FOR THE ERECTION OF 10 NO. RESIDENTIAL PROPERTIES SITE OF OLD FIRE STATION AND FORMER CHAPEL BRONYWAUN, COLLIERY ROAD, CHIRK, WREXHAM (MAJOR) P/2018/0056

Thank you for referring the above planning application received at our office 29th January 2018.

We recommend that you should only grant planning permission for the scheme if it can meet the following requirement, to address significant concerns that we have identified.  Provided this requirement is met, we would not object to the scheme.

Requirement 1: Foul Drainage: The applicant confirms that the foul drainage will be connected to the mains sewer, otherwise demonstrate it is not feasible to connect to the main sewer.

Foul Drainage
NRW notes that there is no information on the means of foul sewage disposal. 

Requirement 1: Foul Drainage: The applicant confirms that the foul drainage will be connected to the mains sewer, otherwise demonstrate it is not feasible to connect to the main sewer. 

The installation of a private sewage treatment facility within an area where it may be considered reasonable to connect to the public sewer system is not considered environmentally acceptable. The first option should be is that a connection to the mains will be made. 

We would therefore be opposed to such facilities unless the developer can demonstrate that it is not reasonable to connect to the public system. In this respect, the applicant should thoroughly investigate the possibility of connecting to the foul sewer by taking the following steps: 

1.    Formally approach the sewerage undertaker regarding a connection under Section 98 or Section 106 of the Water Industry Act (WIA) 1991, as appropriate

2.    Serve notice for connection under Section 98 or Section 106 of the WIA 1991 if the sewerage undertaker has refused connection 

3.    Provide details of the reasons given by the sewerage undertaker if it has refused connection under Section 106 of the WIA 1991 and confirm that this decision has been appealed to Ofwat

OR:

Provide details of the undertakings, security and payment required by the sewerage undertaker under Section 98 of the WIA 1991. 

Provide confirmation that the applicant considers these to be reasonable and does not intend to appeal against them. 

4.    Demonstrate that it is not reasonable to connect to the public foul sewer

Lack of capacity or plans to improve capacity in the sewer is not a valid reason for a sewerage undertaker to refuse connection under Section 106 of the Water Industry Act 1991 and we may refuse to issue an Environmental Permit or exemption for private treatment facilities in such circumstances.

Protected Species
The application is supported by an ecological submission (reference Worsfold, M and Worsfold, S. (2017). Protected Species Surveys at the Old Fire Station, Colliery Road, Chirk, Wrexham, Ll14 5PB. Worsfold & Bowen Unpublished). The survey and assessment has been completed to a satisfactory standard and concur with the conclusions of the report. The proposal is not likely to be detrimental to the maintenance of the favourable conservation status of any local populations of European or British protected species. NRW have no objection to the proposal.

[bookmark: _GoBack]Pollution Prevention 
Any waste excavation material or building waste generated in the course of the development must be disposed of satisfactorily and in accordance with Section 33 and 34 of the Environmental Protection Act 1990. Carriers transporting waste from the site must be registered waste carriers and movement of any Hazardous Waste from the site must be accompanied by Hazardous waste consignment notes. 

Suitable pollution prevention measures will need to be in place during construction to minimise any risk of pollution, in particular we refer you to the following guidance documents:

PPG1: Understanding Your Environmental Responsibilities – Good Environmental Practices 

GPP5: Works in, near or over watercourses 

PPG6: Working at construction and demolition sites 

The documents are available at the following link: 
http://www.netregs.org.uk/environmental-topics/pollution-prevention-guidelines-ppgs-and-replacement-series/guidance-for-pollution-prevention-gpps-full-list/ 

Our comments above only relate specifically to matters that are included on our checklist “Natural Resources Wales and Planning Consultations” (March 2015) which is published on our website: (https://naturalresources.wales/planning-and-development/planning-and-development/?lang=en). We have not considered potential effects on other matters and do not rule out the potential for the proposed development to affect other interests, including environmental interests of local importance. The applicant should be advised that, in addition to planning permission, it is their responsibility to ensure that they secure all other permits/consents relevant to their development.
 
Please do not hesitate to contact us if you require further information or clarification on any of the above. 

Yn gywir / Yours’ faithfully, 

[image: ]
Ruth Prichard 
Ymgynghorydd Cynllunio Datblygu / Development Planning Advisor
Ebost/Email: Ruth.Prichard@cyfoethnaturiolcymru.gov.uk
Deialu uniongyrchol/Direct dial: (0300) 065 3787 Siaradwr Cymraeg / Welsh Speaker [image: ]
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Dear Sir/Madam,


 


 


APPLICATION FOR OUTLINE PLANNING PERMISSION 


FOR THE ERECTION OF 10 NO. 


RESIDENTIAL PROPERTIES SITE OF OLD FIRE STATION AND FORMER CHAPEL 


BRONYWAUN, COLLIERY ROAD, CHIRK, WREXHAM (MAJOR) P/2018/0056


 


 


Thank you for referring the above planning application received at our office 29


th


 


January 2018.


 


 


We 


recommend that you should only grant planning permission for the scheme if it can meet the 


following requirement, to address significant concerns that we have identified.  Provided this 


requirement is met, we would not object to the scheme.


 


 


Requirement 1:


 


Foul Drainage: The applicant confirms that the foul drainage will be connected to 


the mains sewer, otherwise demonstrate it is not feasible to connect to the main sewer.
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means of foul sewage disposal. 
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ally acceptable. 
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We would therefore be opposed to such facilities unless the developer can demonstrate that it is 


not reasonable to connect to the public system. In this respect, 


the applicant should thoroughly 


investigate the possibility of connecting to the foul sewer by taking the following steps: 


 


 


1.    Formally approach the sewerage undertaker regarding a connection under Section 98 or 


Section 106 of the Water Industry Act (W
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undertaker has refused connection 
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