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SITE OF AMBULANCE AND HIGHWAYS DEPOT, RUTHIN ROAD
Further to my memorandums dated 09 June 2016, 15 July 2016 and 04 August 2016 I have received the following information submitted with respect to the conditions 6 and 7 of planning permission P/2015/0533. 

· Letter Report, Ruthin Road Ambulance Station, by Brownfield Solutions Ltd, 14 July 2016 (Ref: LC/C2917/6247 Rev A)

· Ruthin Road, Wrexham Memo Response, Reference SI/P/2016/0395

· Letter Report, Ruthin Road Ambulance Station, By Brownfield Solutions, 07 October 2016 (Ref: LC/C3135/6429)
Having reviewed the above information I can provide the following comments. I trust that you will forward them to the appropriate person(s). Please note the points noted below follow the same format as previous correspondence.

It is acknowledged that the outstanding information (Items 3, 5, 6 and 7) detailed within my memorandum dated 04 August 2016 is to be included within the final validation report that is to be submitted in due course. 
Please find below my comments regarding the validation of hydrocarbon contamination detailed within the following letter report:

· Letter Report, Ruthin Road Ambulance Station, by Brownfield Solutions Ltd, 14 July 2016 (Ref: LC/C2917/6247 Rev A)
a) to d)  A satisfactory response has been received.
e) It is stated that groundwater samples had previously been tested as compliance points to assess the risk to the groundwater plume, what installations were used as the compliance points?

f) No further comments. 
g) Please can you provide further photographs showing the remediation of the soils and perched water from WS106, WS107 and WS104? Furthermore how was the perched groundwater in these locations removed? 

It is noted that the Validation Drawing (C2917/05) has SP1 to SP6 highlighted red, however there is no key detailing what the red refers to, please can you provide an explanation?

Please find below my comments regarding the validation of the installation of the gas protection measures detailed within the following letter report.
· Letter Report, Ruthin Road Ambulance Station, By Brownfield Solutions, 07 October 2016 (Ref: LC/C3135/6429)

The validation of the installation of the gas protection measures is satisfactory and no further information is required.
I look forward to receiving a response to the above items in due course. Please note that until a satisfactory response has been received and approved in writing by the Contaminated Land Team I am unable to recommend that either of the contamination conditions (Nos. 6 and 7) can be discharged. Furthermore it should be noted that as remedial works are deemed necessary then Condition 7 cannot be discharged until the remediation works have been carried out and the final validation/verification report has been submitted and approved in writing by the Council.

Should you have any queries regarding this memo please do not hesitate to contact me on Ext 7435.
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Stacey Inglis
Contaminated Land Officer
MEMORANDUM











