## Summary
| Capacity | Mainstream No on Roll | Spaces available | % Surplus | Required additional spaces this project
Llay | 315 | 315 | 0 | 0% | 102
Mainstream | 315 | 315 | 0
Nursery | 45 | 33 | 12
SEN/ALN Resource | 11 | 8 | 3
| Capacity | No on Roll | Spaces available | % Surplus | Required additional spaces this project
Darland | 840 | 808 | 32 | 3.81% | 73
Mainstream | 840 | 808 | 32
Please note Llay has 0% surplus places
Please note Darland has 3.81% surplus places which is significantly below the 10% recommended by WG

## Pupil Places Generated
|  | 0.28 | 0.2 | 0.04
|  | Primary | Secondary | Post 16
No of houses | 365 | 102.2 | 73 | 14.6

## Primary School Requirement
TRANSPORTATION & ASSET MANAGEMENT DEPARTMENT
PROPERTY PLANNING SERVICES
CHECKLIST OF DfES STATUTORY REQUIREMENTS AND RECOMMENDATIONS
REF: MEJ |  |  | SCHOOL: WREXHAM, PRIMARY
Requirements given for |  |  |  | 60 | nursery pupils + |  |  | 420 | primary pupils
Pupil washrooms:
Wrexham CBC seeks to provide w.c's and washbasins for reception pupils at the same rate as for nursery pupils
| minimum of |  | 30 | w.c.'s or urinals, |  |  | 30 | washbasins and |  | 2 | showers, baths or deep sinks
separate facilities required for males and females who have attained the age of 8 years (i.e. year 4 and above) but Wrexham policy is to provide this for all junior pupils
in washrooms solely for boys up to 2/3 of the fittings may be urinals
Staff washrooms:
must be separate from pupil washrooms, except for any washroom usable by disabled persons having only 1 washbasin, 1 w.c., with or without 1 shower or 1 deep sink, and having its door opening directly onto circulation space other than stairs
guidance on the provision of staff washing and sanitary facilities is given paragraphs 192 - 209 of the HSE's Approved Code of Practice for the Workplace (Health, Safety and Welfare) Regulations 1992
paragraphs 20 (2) (c) and 21 (2) (h) of the Workplace (Health, Safety and Welfare) Regulations 1992 require separate facilities for men and women
Medical accommodation:
must contain a washbasin and be near a w.c.
may be a dual use room (other than teaching) but Welsh Office guidance is that it should not generally be occupied nor the staff room
Staff accommodation:
a school with more than 120 pupils requires a head teacher's room
teaching staff room required for work and social purposes
Ancillary facilities:
provision must be made for storing and drying pupils' outdoor clothing and storing their other belongings
provision must be made for the preparation of food and drinks and the washing of crockery and other utensils
Lighting:
the maintained illuminance on the working plane in teaching accommodation must not be less than 300 lux, but where visually demanding tasks are carried out the maintained illuminance must not be less than 500 lux
in every room, the glare index must not exceed 19
Heating:
for all external temperatures of -1 °C or more, the following minimum air temperatures must be provided measured 0.5m above the floor:
|  | areas of lower than normal physical activity due to sickness or physical disability including sick rooms and isolation rooms but not other sleeping accommodation - | [11 empty] | 21°C
|  | areas of normal physical acitivity associated with teaching, private study or examinations - | [11 empty] | 18°C
|  | areas of higher than normal physical activity (e.g. arising from physical education) and washrooms, sleeping accommodation and circulation spaces - | [11 empty] | 15°C
in teaching accommodation used by a nursery class, the surface temperature of any radiator and exposed pipework in a position where it may be touched by a pupil must not exceed 43 °C
continued
Ventilation:
all occupied areas in a school building shall have controllable ventilation at a minimum rate of 3 litres of fresh air per second for each of the maximum number of persons the area will accommodate
all teaching accommodation, medical examination or treatment rooms, sick rooms and isolation rooms shall be capable of being ventilated at a minimum rate of 8 litres of fresh air per second for each of the usual number of occupants during occupation
all washrooms shall be capable of being ventilated at a minimum rate of 6 air changes per hour
condensation shall be prevented in, and noxious fumes removed from, any room in which there may be steam or fumes
Water supplies:
the temperature of hot water supplies to every bath or shower must not exceed 43 °C
Team game playing fields:
| Wrexham CBC policy is to accommodate all juniors, not just those aged 8 or more; minimum area | [10 empty] | 10000 | m²
all weather surfaced areas of playing fields are counted as twice their actual area
AREA GUIDELINES FROM BUILDING BULLETIN 99
gross area of building: |  |  |  |  | 2433.2 | m² to | 2520.1 |  | m²
net building area *: |  |  |  |  | 1738 | m²
* net area comprises basic teaching area, halls & studios, learning resource areas, staff & admin, storage; it excludes toilets and showers (and related lobbies and changing rooms), kitchen facilities, circulation, plant rooms, internal walls
basic teaching **: |  |  |  |  | 1008 | m² to | 1086 |  | m²
** basic teaching comprises classrooms, ICT suite, practical areas
halls & studios: |  |  |  |  | 226 | m² to | 262 |  | m² with main hall minimum 140m²
learning resources ***: |  |  |  |  | 105 | m²
*** learning resources comprises library / resource centre, small group / quiet rooms, s.e.n. rooms
dining ****: |  |  |  |  | 125 | m² to |  | 156 | m² for primary pupils to dine in 3 sittings
**** lower value for 75% pupils dining, upper for "most of the school"
kitchen: |  |  |  |  | 42 | m² to | 78 |  | m²
gross site area: |  |  |  |  | 17644 | m² to | 20050 |  | m²
net site area: |  |  |  |  | 16040 | m²
pitches: |  |  |  |  | 8400 | m² to | 10200 |  | m²
games courts: |  |  |  |  | 1440 | m² to | 1850 |  | m² with recommended minima for length 33m and width 22m (plus margins)
soft play (informal / social): |  |  |  |  | 2000 | m² to | 2440 |  | m²
hard play (informal / social): |  |  |  |  | 1120 | m² to | 1560 |  | m² additional to the games courts
habitat: |  |  |  |  | 680 | m² to | 1120 |  | m²
float (external area): |  |  |  |  | 2400 | m²
Site Available | 19100
Site could accommodate 420 pupils adjacent former infant school land required

## Secondary School Requirement
TRANSPORTATION & ASSET MANAGEMENT DEPARTMENT
PROPERTY PLANNING SERVICES
CHECKLIST OF DfES STATUTORY REQUIREMENTS AND RECOMMENDATIONS
REF: MEJ |  |  | SCHOOL: WREXHAM, HIGH
Requirements given for |  |  |  | 920 | secondary pupils plus |  |  | 0 | in the 6th form
Pupil washrooms:
| minimum of |  | 46 | w.c.'s or urinals and
every washroom with fewer than 3 w.c.'s or urinals must have an equivalent number of washbasins
every washroom with more than 2 w.c.'s or urinals must have washbasins of at least 2/3 the number of w.c.'s or urinals
separate facilities required for male and female pupils
changing facilities with showers must be readily accessible from the school grounds and from p.e. accommodation
Staff washrooms:
must be separate from pupil washrooms, except for any washroom usable by disabled persons having only 1 washbasin, 1 w.c., with or without 1 shower or 1 deep sink, and having its door opening directly onto circulation space other than stairs
guidance on the provision of staff washing and sanitary facilities is given paragraphs 192 - 209 of the HSE's Approved Code of Practice for the Workplace (Health, Safety and Welfare) Regulations 1992
paragraphs 20 (2) (c) and 21 (2) (h) of the Workplace (Health, Safety and Welfare) Regulations 1992 require separate facilities for men and women
Medical accommodation:
must contain a washbasin and be near a w.c.
may be a dual use room (other than teaching) but Welsh Office guidance is that it should not generally be occupied nor the staff room
Staff accommodation:
head teacher's room is required
teaching staff room required for work and social purposes
Ancillary facilities:
provision must be made for storing and drying pupils' outdoor clothing and storing their other belongings
provision must be made for the preparation of food and drinks and the washing of crockery and other utensils
Lighting:
the maintained illuminance on the working plane in teaching accommodation must not be less than 300 lux, but where visually demanding tasks are carried out the maintained illuminance must not be less than 500 lux
in every room, the glare index must not exceed 19
Heating:
for all external temperatures of -1 °C or more, the following minimum air temperatures must be provided measured 0.5m above the floor:
|  | areas of lower than normal physical activity due to sickness or physical disability including sick rooms and isolation rooms but not other sleeping accommodation - | [10 empty] | 21 °C
|  | areas of normal physical acitivity associated with teaching, private study or examinations - | [10 empty] | 18 °C
|  | areas of higher than normal physical activity (e.g. arising from physical education) and washrooms, sleeping accommodation and circulation spaces - | [10 empty] | 15 °C
continued
Ventilation:
all occupied areas in a school building shall have controllable ventilation at a minimum rate of 3 litres of fresh air per second for each of the maximum number of persons the area will accommodate
all teaching accommodation, medical examination or treatment rooms, sick rooms and isolation rooms shall be capable of being ventilated at a minimum rate of 8 litres of fresh air per second for each of the usual number of occupants during occupation
all washrooms shall be capable of being ventilated at a minimum rate of 6 air changes per hour
condensation shall be prevented in, and noxious fumes removed from, any room in which there may be steam or fumes
Water supplies:
the temperature of hot water supplies to every bath or shower must not exceed 43 °C
Team game playing fields:
| minimum of |  |  |  | 45000 | m²
all weather surfaced areas of playing fields are counted as twice their actual area
AREA GUIDELINES FROM BUILDING BULLETIN 98
gross area of building: |  |  |  |  | 7873.6 | m² to | 8154.8 | m²
net building area: |  |  |  |  | 5624 | m²
basic teaching: |  |  |  |  | 2810 | m² to | 3186 | m²
halls: |  |  |  |  | 876 | m² to | 1072 | m² | new schools to include 4 court sports hall and min 145m² activity studio, existing schools shuld have min 3 spaces
learning resources: |  |  |  |  | 305 | m² to | 401 | m² |  | including | 142 | m² as the library resource centre
includes small group rooms, s.e.n. resource base, music group / practice rooms / ensemble room, recording studio / control room, kiln room, dark room, local IT areas, 6th form study areas
dining & social areas: |  |  |  |  | 209 | m² to | 305 | m² | based on 80% of pupils dining in 3 sittings; includes snack & vending machine areas
kitchen facilities: |  |  |  |  | 92 | m² to | 153 | m²
gross site area: |  |  |  |  | 61864 | m² to | 70300 |  | m²
net site area: |  |  |  |  | 56240 | m²
pitches: |  |  |  |  | 42200 | m²
games courts: |  |  |  |  | 2440 | m² to | 3100 | m²
soft play (informal / social): |  |  |  |  | 3100 | m² to | 3760 | m²
hard play (informal / social): |  |  |  |  | 1780 | m² to | 2440 | m² | additional to the games courts
habitat: |  |  |  |  | 1120 | m² to | 1780 | m²
float (external area): |  |  |  |  | 5600 | m²
Site Available | 104090
Site could accommodate up to 1450 pupils

## Projections less LDP & Planning
Projections of Primary Pupil Numbers 2017-2021
Required by Welsh Government
LA No: | 665
LA Name: | Wrexham
School number | School Name | 1 Projected NOR for Jan 16 as reported in Jan 15 | Actual NOR at 12 Jan 2016 | %age variance | Projected NOR at Jan 2017 | Projected NOR at Jan 2018 | Projected NOR at Jan 2019 | Projected NOR at Jan 2020 | Projected NOR at Jan 2021
2271 | Park CP, Llay | 292 | 305 | 4.452% | 301 | 292 | 284 | 280 | 277
Nursery pupil numbers should not be included
Numbers of pupils in SEN units should not be included
Required by Welsh Government
LA No: | 665
LA Name: | Wrexham
School number | School Name | 1 Projected NOR for Jan 16 as reported in Jan 15 | Actual NOR at 12 Jan 2016 | %age variance | Projected NOR at Jan 2017 | Projected NOR at Jan 2018 | Projected NOR at Jan 2019 | Projected NOR at Jan 2020 | Projected NOR at Jan 2021
4034 | Darland High School | 737 | 787 | 6.784% | 789 | 803 | 808 | 804 | 773

## Llay
Park Community Primary
School Road
Llay
LL12 0TR
School Capacity | 315
Admission Number | 45
1st Preference Refusals 2016 | 0
Appeals September 2016 | 0
In year transfers to date since September 2016 | 3
In year transfers to date refused since September 2016 | 0
Current Numbers per year group |  | Spaces
Nursery | 33 | 12
Reception | 41 | 4
Year 1 | 43 | 2
Year 2 | 42 | 3
Year 3 | 45 | 0
Year 4 | 43 | 2
Year 5 | 49 | -4
Year 6 | 52 | -7
Total mainstream pupils (not Incl Nursery) | 315 | 0
Resouce Pupils
Nursery | 0
Reception | 0
Year 1 | 0
Year 2 | 0
Year 3 | 0
Year 4 | 1
Year 5 | 1
Year 6 | 6
Total resource pupils (not Incl Nursery) | 8
Total resource pupils | 15
Nursery | 33
Reception | 41
Year 1 | 43
Year 2 | 42
Year 3 | 45
Year 4 | 44
Year 5 | 50
Year 6 | 58
Total (not Incl Nursery) | 323

## Darland
Darland High School
Chester Road
Rossett
LL12 0DL
School Capacity | 840
Admission Number | 168
1st Preference Refusals 2016 | 0
Appeals September 2016 | 0
In year transfers to date since September 2016 | 8
In year transfers to date refused since September 2016 | 2
Current Numbers per year group
Year 7 | 155
Year 8 | 169
Year 9 | 168
Year 10 | 164
Year 11 | 152
Total mainstream pupils | 808
Resource Pupils
Year 7 | 10
Year 8 | 4
Year 9 | 6
Year 10 | 9
Year 11 | 12
Total resource pupils | 41
Total Pupils on Roll
Year 7 | 165
Year 8 | 173
Year 9 | 174
Year 10 | 173
Year 11 | 164
Total | 849