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From: 
Stacey Inglis
To:

Matthew Phillips 

Contaminated Land Officer 


Planning Officer
Our Ref:
SI/P/2014/0658
Your Ref:

P/2016/0882
Date:
11 November 2016
No. of

1


Pages:
MAELOR GASWORKS 
I have received the following information submitted with respect to conditions 2, 3 and 4 of planning permission P/2014/0658.
· Maelor Gasworks Remediation, Verification Report 14890-REP-001, by I & H Brown, September 2016
Having reviewed the above information I can provide the following comments. I trust that you will forward them to the appropriate person(s). Please note that I have only reviewed the sections of the report that are in relation to human health as it is my understanding that Natural Resources Wales are leading on the controlled waters aspect of the remedial works. 

Overall I am satisfied with the verification report and that the sections of the site that have been remediated have been done appropriately in terms of human health. Please can you provide further information on the restoration of the treatment area after the completion of the works to demonstrate that this area has not been contaminated during the ex-situ treatment process? 
I look forward to receiving a response in due course. Please note that until the supplementary information has been received and approved in writing by the Contaminated Land Team I am unable to recommend that the contamination conditions (Nos. 2, 3 and 4) can be discharged with regards to human health. 

Should you have any queries regarding this memo please do not hesitate to contact me on Ext 7435.
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Stacey Inglis
Contaminated Land Officer
MEMORANDUM











