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Our Ref:  NWP/MoJ/305414/SC04 
17th September 2014
Community Well-being & Development

Wrexham County Borough Council

Lord Street

Wrexham

LL11 1LG

For the attention of Matthew Phillips
Dear Sirs
Application No. P/2013/0671: HMP North Wales

We are writing to confirm the following in relation to your queries regarding each of the planning conditions for the above project as follows;

Conditions 7 & 8

The planning submission for conditions 7 & 8 dated 19th August, copy attached, represent the outline surface and foul water drainage strategy for the site. 

The final scheme will be developed in consultation with Welsh Water and Natural Resource Wales. Once the site drainage foul and surface systems have been agreed with Welsh Water and Natural Resource Wales as applicable, a revised planning submission will be made. 
We anticipate that the updated surface water scheme will be submitted to planning by 30 October 2014.
The finalisation of the foul drainage scheme is subject to a flow survey of the existing foul sewers, which is dependent upon rainfall events and may take a period of 9 months to complete. We therefore anticipate the worst case scenario, for the final foul drainage scheme planning submission to be made by 1st August 2015. 
The site foul and surface water schemes will not be connected to the relevant networks outside the site boundary until such time as the schemes have been agreed with the relevant bodies. 

Yours faithfully
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SIMON CARON
Project Director
Lend Lease 
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