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From: 
Stacey Inglis, Contaminated Land Officer
To:
Matthew Phillips 

Housing & Public Protection Department 

(Planning Department)
Our Ref:
SLI/P/2013/0149

Your Ref:
P/2013/0149
Date:
21 March 2013
37 MAESGWYN ROAD, WREXHAM
The above property has had gas protection measures installed to prevent the migration of ground gases and a capping layer of 600mm in garden areas under P/2008/0090. To maintain the gas protection measures at the above property it will be necessary to condition any future consent. I would recommend that the following condition and note to applicants be applied to any future consent that may be granted.

Condition

Gas protection measures (Characteristic Situation 2, CIRIA Guidance C659) should be installed in all new buildings/extensions.  A methodology of these works (including specification details, design plans, installation, inspection and validation details etc...) should be submitted in writing to the Council for approval prior to any works commencing on site.  The development shall not be occupied/used until the Validation Report prepared by an independent and suitably experienced third party to show that the works have been satisfactorily carried out has been submitted to and approved in writing by the Local Planning Authority.

Note to Applicant

A11NA
SITE CONTAMINATION
Due to remediation works undertaken at the site, the garden areas have 600mm of clean cover. Please take appropriate health and safety precautions during excavation works below this depth. Should you require any further advice then please contact the Council’s Environmental Protection Section on 01978 315735.
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Stacey Inglis
Contaminated Land Officer 

MEMORANDUM











