## Sheet1
SITE: | Erbistock Weir restoration |  |  | 1.8 |  |  | CLIENT: NRW LIFE Dee | [6 empty] | DATE: | 2022-12-10
| Type | TAG | Hgt (m) | Crown spread (m) |  |  |  | Height Canopy (M) | Height of 1st Branch (M) | Bearing of 1st branch | DBH1 (mm) | DBH2 (mm) | DBH3 | DBH4 | DBH5 | Average DBH (more than 5 stems) | № stems (more than 5) | Species | Age | Estimated remaining contribution (yrs) | Condition | General Observations | Implications and preliminary recommendations | Standard RPA
|  |  |  | N | E | S | W | [16 empty] | Area (m²) | Radius (m)
1 | Tree | 457 | 17 | 8 | 4.5 | 11 | 3.8 | 5 | 3 | N | 760 | [6 empty] | Oak | M | 40+ | Good |  | Retain, avoid compaction of RPA | 261.3001 | 9.12
2 | Tree | 458 | 21 | 9.2 | 7.7 | 7 | 3.7 | 3.5 | 5 | NW | 830 | [6 empty] | Beech | M | 40+ | Fair |  | Retain, avoid compaction of RPA | 311.651 | 9.96
3 | Tree | 459 | 15.25 | 7.3 | 3 | 3.5 | 5.5 | 5 | 2.5 | NE | 460 | [6 empty] | Sycamore | SM | 40+ | Fair |  | Retain, avoid compaction of RPA | 95.7256 | 5.52
4 | Tree | 460 | 15 | 4.6 | 4.5 | 2.5 | 4.2 | 4 | 4.1 | N | 615 | [6 empty] | Oak | SM | 40+ | Fair |  | Retain, avoid compaction of RPA | 171.105 | 7.38
5 | Tree | 461 | 14.5 | 7.6 | 3 | 6 | 5.5 | 7 | 3.5 | E | 640 | [6 empty] | Oak | SM | 40+ | Good |  | Retain, avoid compaction of RPA | 185.2987 | 7.68
6 | Tree | 462 | 12.5 | 4.4 | 2 | 0 | 2 | 9.5 | 7.5 | E | 135 | [6 empty] | Ash | Y | 10+ | Fair | ADB class 1 | Retain, avoid compaction of RPA | 8.2448 | 1.62
7 | Tree | 463 | 10.5 | 0.5 | 1.8 | 0.5 | 0 | 0 | 6 | E | 265 | [6 empty] | Alder | Y | <10 | Dead |  | Fell | 31.769 | 3.18
8 | Tree | 464 | 8.5 | 3.3 | 4 | 1 | 0 | 1.6 | 1.2 | E | 115 | [6 empty] | Beech | Y | 40+ | Good |  | Retain, avoid compaction of RPA | 5.9828 | 1.38
9 | Tree | 465 | 14 | 1 | 1 | 1.5 | 3.5 | 4 | 4 | W | 240 | [6 empty] | Sessile oak Quercus petraea | SM | 40+ | Poor | In decline, minor deadwood on N side. | Remove deadwood over work area (N side) | 26.0576 | 2.88
10 | Tree | 466 | 9 | 4 | 2 | 3.5 | 1.5 | 1.3 | 1.2 | N | 110 | [6 empty] | Beech | Y | 40+ | Good |  | Retain, avoid compaction of RPA | 5.4739 | 1.32
11 | Tree | 467 | 14 | 3.5 | 2 | 4.5 | 3 | 8 | 6.5 | SW | 280 | [6 empty] | Sessile oak Quercus petraea | SM | 40+ | Good |  | Retain, avoid compaction of RPA | 35.4673 | 3.36
12 | Tree | 468 | 9.5 | 3 | 1.5 | 2.3 | 4.5 | 1.2 | 1 | NW | 150 | [6 empty] | Beech | Y | 40+ | Good | Codominant at 0.9m. | Retain, avoid compaction of RPA | 10.1788 | 1.8
13 | Tree | 469 | 10.5 | 2.85 | 2.1 | 2.5 | 2 | 2.5 | 2.3 | W | 75 | [6 empty] | Beech | Y | 40+ | Good |  | Retain, avoid compaction of RPA | 2.5447 | 0.9
14 | Tree | 470 | 15 | 4.25 | 0 | 2.4 | 1 | 6.5 | 6 | N | 215 | [6 empty] | Sessile oak Quercus petraea | SM | 40+ | Good |  | Retain, avoid compaction of RPA | 20.9117 | 2.58
15 | Tree | 471 | 8 | 3 | 1.3 | 2.5 | 3 | 1.9 | 1.6 | S | 90 | [6 empty] | Beech | Y | 40+ | Good |  | Retain, avoid compaction of RPA | 3.6644 | 1.08
16 | Tree | 472 | 16 | 2.8 | 2.3 | 11 | 5.5 | 3 | 2.5 | SE | 790 | [6 empty] | Sessile oak Quercus petraea | M | 40+ | Fair | Rootplate undercut on N side, with major roots damaged (previous civil works on weir ?) Heavy ivy load and major deadwood through out canopy | Retain, avoid compaction of RPA | 282.3362 | 9.48
17 | Tree | 473 | 13 | 2.5 | 0.5 | 2.8 | 4.5 | 7 | 5.5 | S | 205 | [6 empty] | Ash Fraxinus excelsior | SM | 20+ | Fair | ADB class 2 | Retain, avoid compaction of RPA | 19.0117 | 2.46
18 | Tree | 474 | 14 | 1 | 2.5 | 7.5 | 1 | 2.5 | 4.5 |  | 290 | 505 | [5 empty] | Common alder Alnus gultinosa | M | 20+ | Poor | Upper canopy dead above 9m | Remove deadwood over work area (N side) | 153.4165 | 6.9881
19 | Tree | 475 | 11 | 5.5 | 5.2 | 3 | 6 | 2.5 | 0.1 | E | 450 | 290 | 400 |  |  |  |  | Common alder Alnus gultinosa | M | 20+ | Poor | N stem dead, central stem in decline, upper stem on S strm dead | Remove central and N stem | 202.0371 | 8.0194
20 | Tree | 476 | 7 | 5 | 0 | 0 | 3 | 2.5 | 0.2 | E | 160 | [6 empty] | Ash Fraxinus excelsior | Y | <10 | Poor | ADB class 2 | Fell | 11.5812 | 1.92
21 | Group | 477 | 8.5 | 1.2 | 1.8 | 2.5 | 3 | 1.7 | 0.5 | E | 80 | 90 | 105 |  |  |  |  | Ash Fraxinus excelsior | Y | <10 | Fair | ADB class 2 | Fell | 11.5472 | 1.9172
22 | Tree | 478 | 7 | 5 | 0 | 4.5 | 6.5 | 3 | 2.75 | W | 170 | 180 | [5 empty] | Ash Fraxinus excelsior | Y | <10 | Fair | ADB class 2, Co dominant stems growing out from structure | Fell | 27.7315 | 2.9711
23 | Group | 479 | 13 | 3 | 2 | 5 | 3 | 3.5 | 3 | W | 230 | 100 | [5 empty] | Common alder Alnus gultinosa | Y | 40+ | Good |  | Fell | 28.4553 | 3.0096
24 | Tree | 480 | 6 | 2 | 6 | 5 | 0 | 0.3 | 1.7 | E | 200 | [6 empty] | Sessile oak Quercus petraea | Y | 40+ | Poor | Suppressed | Pollard at 1.6m | 18.0956 | 2.4
25 | Tree | 481 | 8 | 0 | 5 | 6 | 2 | 1.8 | 1.2 | E | 140 | [6 empty] | Hornbeam | Y | 20+ | Poor | Suppressed | Fell for access ramp | 8.8668 | 1.68
26 | Tree | 482 | 11 | 4.5 | 3.5 | 6.5 | 6.5 | 1.8 | 1.8 | SE | 310 | [6 empty] | Sessile oak Quercus petraea | Y | 40+ | Fair | Suppressed to N | Pollard at 2.7m for clearance for access ramp | 43.4746 | 3.72
27 | Tree | 483 | 15 | 4.5 | 8 | 8 | 5 | 8 | 7 | E | 405 | [6 empty] | Sycamore | SM | 40+ | Good |  | Pollard at 7m at Codominant forks for clearance for access ramp | 74.2032 | 4.86
28 | Tree | 484 | 16.5 | 4.5 | 6.5 | 4.2 | 0 | 4 | 3 | N | 470 | [6 empty] | Ash Fraxinus excelsior | SM | 20+ | Fair | Suppressed to W, ADB class 1 | Fell for access ramp | 99.9328 | 5.64
29 | Tree | 485 | 7 | 5 | 0 | 4 | 5 | 4 | 3.7 | W | 170 | [6 empty] | Hornbeam | Y | <10 | Dead | Suppressed beneath Oak and Sycamore | Fell for access ramp | 13.0741 | 2.04
30 | Tree | 488 | 13 | 1 | 1 | 0 | 0 | 0 | 7 | W | 185 | [6 empty] | Cherry | SM | <10 | Dead |  | Fell for access ramp | 15.483 | 2.22
31 | Tree | 489 | 13.5 | 1 | 1.5 | 6 | 3 | 2 | 2 | S | 140 | [6 empty] | Hornbeam | Y | 40+ | Good |  | Fell for access ramp | 8.8668 | 1.68
32 | Tree | 490 | 12 | 0 | 0 | 3.5 | 4 | 2.1 | 2.5 | S | 120 | [6 empty] | Sycamore | SM | 40+ | Good |  | Fell for access ramp | 6.5144 | 1.44
33 | Tree | 491 | 19 | 3 | 1 | 4.5 | 7.5 | 7 | 0.3 | SW | 480 | 200 | [5 empty] | Common alder Alnus gultinosa | SM | 40+ | Good |  | Fell for access ramp | 122.3261 | 6.24
34 | Group | 492 | 6.5 | 2.5 | 1 | 2.5 | 3 | 2 | 2 | S | 105 | 60 | [5 empty] | Holly | Y | 40+ | Good |  | Retain if possible | 6.6162 | 1.4512
35 | Group | 493 | 13 | 4 | 0 | 0 | 3.5 | 8 | 8 | N | 180 | 85 | 130 |  |  |  |  | Ash Fraxinus excelsior | Y | <10 | Poor | 3 stems, ADB class 2 | Retain if possible | 25.5713 | 2.853
36 | Tree | 494 | 14 | 4.5 | 1 | 3 | 2 | 9 | 7 | W | 180 | [6 empty] | Ash Fraxinus excelsior | Y | <10 | Poor | ADB class 3 | Fell for access ramp | 14.6574 | 2.16
37 | Tree | 495 | 17.5 | 4 | 0 | 5 | 15 | 8 | 8 | E | 550 | [6 empty] | Ash Fraxinus excelsior | M | 10+ | Poor | ADB class 1, Rootplate lifted, allowing tree to fall towards river, supported by Alder (T38). Rootplate undercut with potential otter habitat | Fell for access ramp | 136.8478 | 6.6
38 | Tree | 496 | 13 | 4 | 0 | 0 | 8.5 | 7 | 7 | W | 260 | [6 empty] | Common alder Alnus gultinosa | SM | 20+ | Poor | Supporting T37 at 7m, light ivy cover, Dead top over 11m, | Fell for access ramp | 30.5815 | 3.12
39 | Tree | 497 | 11 | 5.5 | 1.5 | 6.5 | 8 | 1 | 0.3 | S | 520 | [6 empty] | Common alder Alnus gultinosa | M | 20+ | Poor | Dead top above 8.5m | Fell but retain stump as coppice stool | 122.3261 | 6.24
40 | Group | 498 | 15.5 | 2.2 | 4.5 | 5 | 6.5 | 2.5 | 3 | W | 230 | 180 | 120 |  |  |  |  | Sycamore | SM | 40+ | Fair | Light ivy cover on largest stem | Retain if possible | 45.1032 | 3.789
41 | Group | 499 | 16 | 6 | 6.5 | 2.5 | 3.5 | 6 | 6 | N | 280 | 220 | 380 |  |  |  |  | Cherry | SM | 20+ | Fair | Bark damage on S stem. | Retain if possible | 122.688 | 6.2492
42 | Tree | 500 | 20 | 2 | 15 | 9 | 0 | 3 | 0 | E | 600 | [6 empty] | Willow | M | 20+ | Fair | Riverside tree, undermined on river side, and leaning up embankment. | Retain if possible | 162.8602 | 7.2
43 | Tree | 123 | 10 | 3 | 2.5 | 3.2 | 2.1 | 1.2 | 1.7 | E | 185 | [6 empty] | Sessile oak Quercus petraea | Y | 40+ | Good |  | Avoid compaction of RPA | 15.483 | 2.22