I refer to the above grant of planning permission on 17 March 2009 and the details submitted in respect of conditions 03.  I apologise for the delay in my response.

I confirm approval of the details in respect of the window and door details.  In accordance with the requirements of the condition, all new and replacement windows should the fitted in accordance with these details.  
The use of uPVC rainwater goods is refused.  To reflect the character of the building, all rainwater goods should be cast iron or cast aluminium.  I would therefore be grateful if the details could be amended accordingly.  

