Developer Services
PO Box 3146
Cardiff
CF30 0EH
Tel / Ffôn: +44 (0)800 917 2652
Email / Ebost: developer.services@dwrcymru.com

Gwasanaethau Datblygu
Blwch Post 3146
Caerdydd 
CF30 0EH

	Wrexham
16 Lord Street 
Wrexham
LL11 1LG
	

	

	
Date: 13th October 2026

	
	Our Ref: 1003819
Your Ref: P/2026/0562


	Grid Ref: 338837,350082
	


 Site: Bryn Lane Wrexham, Wrexham, LL13 9UT
Development: REMOVAL OF EXISTING REUSE SHOP/OFFICE AND ERECTION OF REPLACEMENT MODULAR BUILDING FOR USE AS REUSE SHOP
We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.  
The application appears to rely on existing sewer connections and no new connections are to be made with the public sewerage system. Nonetheless, for the avoidance of doubt, we would request if minded to grant planning consent that the following Condition and Advisory Notes are included to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets:
Condition 
No surface water from any increase in the roof area of the building /or impermeable surfaces within its curtilage shall be allowed to drain directly or indirectly to the public sewerage system.
Reason: To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no pollution of or detriment to the environment.
Advisory Notes
The planning permission hereby granted does not extend any rights to carry out any works to the public sewerage or water supply systems without first having obtained the necessary permissions required by the Water industries Act 1991. Any alterations to existing premises resulting in the creation of additional premises or merging of existing premises must also be constructed so that each is separately connected to the Company’s water main and can be separately metered. Please contact our new connections team on 0800 917 2652 for further information on water and sewerage connections.
The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011. The presence of such assets may affect the proposal. In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.
In accordance with Planning Policy Wales (Edition 12) and Technical Advice Note 12 (Design), the applicant is advised to take a sustainable approach in considering water supply in new development proposals, including utilising approaches that improve water efficiency and reduce water consumption. We would recommend that the applicant liaises with the relevant Local Authority Building Control department to discuss their water efficiency requirements. 
Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.
If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com. Please quote our reference number in all communications and correspondence.

Yours sincerely,
Developer Services
Dŵr Cymru Welsh Water
We’re not-for-profit. Every single penny we make goes back into looking after your water and environment. You can contact us in Welsh or English.
Rydym yn gwmni nid-er-elw. Mae pob ceiniog a wnawn yn mynd i ofalu am eich dŵr a’ch amgylchedd. Cysylltwch a ni yn Gymraeg neu’n Saesneg.

Dŵr Cymru Cyf (2366777)
A limited Company registered in Wales
Cwmni cyfyngedig wedi’i gofrestu yng Nghymru: Linea, Fortran Road, St Mellons, Cardiff, CF3 0LT
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